BEFORE THE HONOURABLE JHARKHAND STATE ELECTRICITY REGULATORY COMMISSION

File No.:

Case No.:

IN THE MATTER OF:    	PETITION FOR DETERMINATION OF AGGREGATE REVENUE REQUIREMENT (ARR) FOR FY 2026-27 TO 2030-31 AND DETERMINATION OF TARIFF FOR FY 2026-27 FOR DISTRIBUTION AND RETAIL SUPPLY OF ELECTRICITY FOR THE PART OF THE DAMODAR VALLEY AREA FALLING WITHIN THE TERRITORY OF THE STATE OF JHARKHAND.

AND

IN THE MATTER OF:

Damodar Valley Corporation

DVC Tower, VIP Road,

Kolkata-						-	Petitioner

PETITION UNDER SECTIONS 62, 64 AND 86 OF THE ELECTRICITY ACT, 2003 READ WITH THE APPLICABLE PROVISIONS OF THE DAMODAR VALLEY CORPORATION ACT, 1948 AND RELEVANT REGULATIONS OF THIS HON’BLE COMMISSION AND THE CENTRAL ELECTRICITY REGULATORY COMMISSION.

MOST RESPECTFULLY SHOWETH:

- Damodar Valley Corporation (hereinafter referred to as the ‘DVC’) is filing this petition for finalization of the revenue requirements and tariff admissible to DVC for the distribution and retail supply of electricity to the consumers and licensees serviced by DVC in the part of the Damodar Valley Area falling within the territory of the State of Jharkhand. The present Petition is filed for determination of Aggregate Revenue Requirement (hereinafter referred to as the ‘ARR’) of DVC for the period FYs 2026-27 to 2030-31 and Distribution Tariff of DVC for the period FY 2026-27 applicable in its Jharkhand command area in terms of ‘Terms and Conditions for Determination of Distribution Tariff’ Regulations, 2025 as notified by the Hon’ble Jharkhand State Electricity Regulatory Commission and the Electricity Act.

- DVC undertakes the retail sale and supply of electricity to the consumers and licenses located within its operational area and the same is covered by Section 62 (1)(d) of the Electricity Act, 2003. Besides retail supply to its consumers, DVC used to supply power to licensees viz. JBVNL, JUSCO, TATA Steel, Bokaro Steel Ltd (BSL)etc. at some connection points in consumer mode through its own T & D network. In view of the progressive migration of such licensees to scheduled mode, no projection of sale to licensees in Jharkhand has been included in this Petition. This Hon’ble Commission also determined tariff applicable for supply of electricity by DVC for Institutional Services like Railway traction and Military Services in the last tariff order dtd. 27.05.2025. DVC has implemented the order in terms of the directions therein.

- Since certain licensees (such as BSL at present) continue to receive supply in consumer/radial mode, DVC submits that, as per the Electricity Act, any licensee drawing supply in consumer mode through point-to-point wire connection is liable to be billed at consumer tariff and falls under the High-Tension Industry (HT) category. Accordingly, DVC prays that the tariff determined in the present proceedings may be applied to such licensees until they migrate to scheduled mode.

- In addition to above DVC also undertakes sale of electricity to the licensees situated outside its operational area in its capacity generally as a generating company.  This is bulk sale of electricity by a generating company to a distribution licensee within the meaning of Section 62 (1) (a) of the Electricity Act, 2003.

Brief background for the petition

- DVC is submitting the present petition as a distribution licensee operating in the command area within the state of Jharkhand. In accordance with section 62, 64 and 86 of the Electricity Act 2003, the tariff for distribution and retail supply is to be determined by the Hon’ble Jharkhand State Electricity Regulatory Commission (hereinafter referred as the Hon’ble “Commission”).

- At the outset, it is submitted that DVC is a statutory body incorporated under the Damodar Valley Corporation Act, 1948, (“DVC Act”) having multifarious functions as stated below:

- DVC undertakes generation of electricity and is therefore a generating company within the meaning of Section 2 (28) of the Act.

- DVC undertakes the sale of electricity to beneficiaries outside the command area and to utilities like JBVNL and WBSEDCL in the command area using its own T&D network and each point of supply is governed by specific contract demands outlined in respective Power Purchase Agreements (“PPAs”), aligning with Section 62(1)(d) of the Act.

- DVC undertakes transmission of electricity in the Damodar Valley area, which falls within the territorial limits of the two states namely, West Bengal and Jharkhand. DVC, therefore, also undertakes inter-state transmission of electricity and operates inter-state transmission system within the meaning of Section 2 (36) of the Act.

- Under Section 79 (1) (a) of the Act, the tariff for generation of electricity is to be decided by the Central Electricity Regulatory Commission (“Hon’ble CERC”). Similarly, with regards to the inter-state transmission, DVC is regulated by Hon’ble CERC and tariff for composite (inter-state) generation & transmission is to be determined by the Hon’ble CERC in terms of Section 79 (1) (c) and (d) of the Act.

- With regards to the retail sale and supply of electricity, DVC covers the entire Damodar Valley area which falls in two contiguous states, namely, the State of West Bengal and the State of Jharkhand. Thus, tariff for retail sale and supply of electricity in the Damodar Valley area is governed by the provisions of Section 62 (1) (d) read with Section 86 (1) (a) of the Act and has to be determined by the respective State Electricity Regulatory Commissions of West Bengal and Jharkhand. Accordingly, the generation and transmission tariff of DVC as may be determined by CERC will be an input cost based on which the retail supply tariff is prepared.

- This Hon’ble Commission has already clarified the above position while passing tariff orders for DVC dated 22.11.2012 and 04.09.2014. Relevant portion of tariff orders passed by this Hon’ble Commission on 22.11.2012 and 04.09.2014 is attached herewith as ANNEXURE-1.

- It is submitted that even after the Electricity Act coming in to force in 2003, DVC Act, continues to operate and the special provisions contained in Part IV of the said Act, being not inconsistent with the Electricity Act, remain fully applicable to DVC. Importantly, the Hon’ble Appellate Tribunal, in its judgment dated 23.11.2007 in Appeal Nos. 271, 272, 273 etc. of 2006, categorically held that only those tariff regulations framed under the Electricity Act which are consistent with the DVC Act can be applied to DVC, and that in case of conflict between Regulations and DVC Act, the provisions of the DVC Act shall prevail. This position was subsequently affirmed by the Hon’ble Supreme Court by its judgment dated 23.07.2018 in the connected Civil Appeals. Relevant extracts of both judgments are annexed as ANNEXURE–2.

- DVC would also like to place on record that some issues related to tariff determination have been appealed by the petitioner before the Hon’ble Appellate Tribunal and final decision on these appeals are still awaited. DVC has filed appeals before the Hon’ble Appellate Tribunal being the Appeal Nos. 163 of 2017 (on some aspects related to the JSERC tariff order dated 19.04.2017), 281 of 2018 (on issues related to the JSERC tariff order dated 18.05.2018), 441 of 2022 (on issues related to the JSERC tariff order dated 28.05.2019), 91 of 2021 (on issues related to the JSERC tariff order dated 30.09.2020). 507 of 2024 (on issues related to the tariff Order dated 22.01.2024), 74 of 2025 (on issues related to the tariff Order dated 22.01.2024) & 227 of 2025 (on issues related to the tariff Order dated 27.05.2025).  The summary of the matters appealed is provided below:

- DVC preferred Appeal No. 163 of 2017 on the following grounds:

- Impact of pay revision for the period FY 2006-09 disallowed;

- Carrying cost computed based on compound rate of interest in place of simple interest,

- Recovery of the contribution to Pension & Gratuity(P&G) Fund and Sinking fund allowed based on Plant/Transmission Availability Factor during 2009-10 to 2014-15;

- Actual transmission & distribution (T&D) loss not considered for FY 2012-13 to 2014-15;

- A part of power purchase cost disallowed during FY 2012-13 to FY 2014-15;

- Computation of Revenue Gap / Surplus based on Revenue Assessed and Revenue Billed in place of Revenue Realized;

- Consideration of 100% collection efficiency without considering the implication of bad and doubtful debts; etc.

- DVC preferred Appeal No. 281 of 2018 on the following grounds;

- part of power purchase cost disallowed during FY 2015-16 and during the MYT period 2016-17 to 2020-21;

- Carrying cost computed based on compound rate of interest in place of simple interest rate,

- Recovery of the contribution to Sinking fund allowed based on Plant / Transmission Availability Factor during 2015-16 and during the MYT period;

- Non-consideration of actual transmission & distribution (T&D) loss for FY 2015-16;

- Computation of Revenue Gap / Surplus based on Revenue Assessed and Revenue Billed in place of Revenue Realized;

- Consideration of 100% collection efficiency without considering the implication of bad and doubtful debts; etc.

- DVC preferred Appeal No. 441 of 2022 (DFR no. 383 of 2020) on the following grounds;

- Carrying cost computed based on compound rate interest in place of simple interest rate,

- Recovery of the contribution to Sinking fund allowed based on Plant / Transmission Availability Factor during 2016-17 to 2019-20;

- Non-consideration of actual transmission & distribution (T&D) loss for FY 2017-18 to 2019-20;

- Disallowance of Cyber Security expenses for FY 2017-18

- Disallowance of contingency power purchase for FY 2018-19 and 2019-20.

- DVC preferred Appeal No. 91 of 2021 on the following grounds;

- Carrying cost computed based on compound rate of interest in place of simple interest,

- Reduction in Fixed Charges for consumers of DVC from Existing Tariff order,

- Linking of Recovery of Fixed/Demand Charges based on hours of power supply,

- Reduction in rate of delay payment surcharge and extension of due date for prompt payment rebate,

- Disallowance of AMC charges for ULDC scheme for FY 2014-15 to 2018-19,

- Disallowance of ULDC charges for FY 2019-20 & 2020-21,

- Disallowance of Cyber security expenses,

- Disallowance of Interest on working Capital,

- Consideration of 100% collection efficiency without considering the implication of bad and doubtful debts; etc,

- Computation of Revenue Gap / Surplus based on Revenue Assessed and Revenue Billed in place of Revenue Realized;

- DVC preferred Appeal No. 507 of 2024 on the following grounds;

- Erroneous computation of cumulative gap/surplus for the distribution business of DVC in the State of Jharkhand for the period FY 2006-07 to FY 2023-24

- arbitrarily disallowed the Rebate on sale of power for FY 2021-22, FY 2022-23, and FY 2023-24;

- erroneously considered the revenue billed amount for FY 2021-22 without assigning any cogent reasons for the same;

- arbitrarily disallowed the legal charges claimed for FY 2021-22, FY 2022-23, and FY 2023-24;

- erroneously disallowed the Interest on Working Capital for FY 2021-22, FY 2022-23, and FY 2023-24;

- while computing the T&D loss for FY 2021-22, FY 2022-23 and 2023-24:

  - erroneously dis-allowed the UI Import for FY 2021-22 which resulted in incorrect computation of T&D Loss.

  - arbitrarily dis-allowed the quantum of Grid Loss which is bound to occur for transmission of energy through the CTU for FY 2022-23 and FY 2023-24.

  - erroneously dis-allowed the quantum and cost of power purchase from the exchange for FY 2022- 23 and FY 2023-24.

- arbitrarily disallowed the expense for the state transmission charge for evacuation of power purchased from NVVNL

- disallowed the Ash Evacuation Expenses in respect of generating stations

- erroneously considered the Annual Fixed Cost of DTPS U#4 generating station

- erroneously rendered a finding that Ld. JSERC has previously directed DVC to provide separate balance sheets for the distribution business of DVC;

- erroneously disallowed the power purchase cost from the NTPC Vidyut Vyapar Nigam Ltd. (“NVVNL”) and power exchanges i.e., Power Exchange India Limited (“PXIL”) and Indian Electricity Exchange (“IEX”) for FY 2022-23 and FY 2023-24, without adducing any reasoning;

- arbitrarily has not increased the Tariff of DVC, though there is a huge gap in the average billing rate and the average cost of supply;

- DVC preferred Appeal No. 74 of 2024 on the following grounds

- Disallowance of Legal charges claimed for FY 2020-21;

- Disallowance of Interest on working capital for FY 2020-21;

- Disallowance of Rebate on sale of power for FY 2020-21;

- Disallowance of Revenue billed amount for FY 2020-21 without assigning any cogent reasons for the same;

- Disallowance of Impact of trued-up figures as computed by the Ld. CERC for the T&D System and MTPS Unit 4 in Order dated 10.06.2022 (with corrigendum issued on 23.07.2022 and 02.03.2022) and 30.11.2022, while computing the revenue (surplus)/gap for FY 2020-21 by the Ld. JSERC;

- Disallowance of Computation the Annual Fixed Cost; and

- Disallowance of Interest on Additional Working Capital

- DVC preferred Appeal No. 227 of 2025 on the following grounds

- incorrectly determined the Non-Tariff Income;

- failed to adjust revenue gap;

- erroneous determined the tariff design which is not commensurate with the approved ACoS and ARR;

- arbitrarily disallowed the Rebate on sale of power;

- disallowed the claimed Interest on Working Capital;

- disallowed the claim of Environment Protection;

- disallowed DVC’s claim for interest on Temporary Financial Accommodation;

- erred in computation of Transmission and Distribution (“T&D”) Cost;

- Failed to provide any trajectory of adjustment to clear the deficit RPO (Back-log) for previous periods for FY 2016- 17 to FY 2020-21;

- arbitrary deduction Rs. 66.67 crores for FY 2017-18 to FY 2019-20 for Open Access charges & double deduction of open access charges for FY 2022-23 to the tune of 40.92 crores;

- disallowance of Flue Gas Desulfurization Cost;

- disallowance of claim for FY 2025-26 regarding fixed charges for 11 kV Distribution Assets; and

- disallowed the Legal Charges and Consultancy fees

DETERMINATION OF ARR FOR THE CONTROL PERIOD FY 2026-27 TO FY 2030-31 & CATEGORY WISE TARIFF FOR FY 2026-27

- DVC respectfully submits that the following have been considered as input costs in the current petition while computing the aggregate revenue requirement for distribution and retail supply of electricity by DVC in Jharkhand for the control period FY 2026-27 to FY 2030-31:

- Own Generation Cost:

- DVC respectfully submits that its own generation portfolio comprises Thermal, Hydel, and certain renewable sources. In addition to its existing assets, DVC anticipates commissioning three new thermal generating stations during the control period FY 2026–27 to FY 2030–31, namely: Raghunathpur TPS (RTPS) Phase-II: 2 × 660 MW; Koderma TPS (KTPS) Phase-II: 2 × 800 MW; and Durgapur TPS (DTPS) Phase-II: 1 × 800 MW. Further, besides the existing renewable Ground Mounted PV at KTPS (claimed in the ARR of True-up FY 2024–25), DVC has commissioned additional plants, viz. Floating PV at KTPS and Ground Mounted PV at Panchet; and, based on anticipated CODs, DVC projects the following plants for the control period: 6 MW Floating PV at KTPS; 10 MW Floating Solar PV at RTPS; 14 MW Floating Sloar PV at MTPS; 8 MW Konar (Ground Mounted); 10 MW Floating Solar PV at CTPS; 234 MW Floating Solar PV at Maithon Dam; and 228 MW Floating Solar PV at Konar Dam

  - AFC of Own Generation: DVC has considered its own generation cost and the cost of its Transmission & Distribution (T&D) system for FY 2026–27 to FY 2030–31 on the basis of the AFC projected in the petitions filed before the Hon’ble CERC for the 2024–29 tariff period. In the absence of a final orders for True up of  2019-24 and MYT of 2024-29 period from the Hon’ble Central Commission, the filed values for MYT period 2024-29 have been adopted for projection. These petitions also includes DVC’s T&D assets, including newly commissioned elements during 2024–29, in accordance with applicable regulatory provisions. Since submissions before CERC extend up to FY 2028–29 and tariff regulations for 2029–34 are not yet notified, input costs for FY 2029–30 and FY 2030–31 have been projected using trend analysis of Annual Fixed Charges (AFCs) for the individual generating stations and T&D systems. Relevant portions of the projected AFC of the existing generating stations submitted before Hon’ble CERC is annexed as ANNEXURE-3. As submitted, while DVC anticipates commissioning three new thermal stations within FY 2026–27 to FY 2030–31, these projects are expected to achieve COD from FY 2028–29 onwards. Accordingly, no capital cost or O&M expenditures for these stations have been proposed in the FY 2026–27 tariff. Tariff petitions for these stations will be filed upon actual COD in line with the CERC Tariff Regulations, 2024. Given their expected commissioning within the control period. The generation (MUs) and input cost estimates for these projected plants have been developed using a prudent and justified methodology.

  - Cost of FGDs: DVC further submits that Flue Gas Desulfurization (FGD) systems, forming part of the Emission Control System (ECS), have been commissioned and are in commercial operation on the units listed below. DVC has already filed petitions before CERC for tariff determination of each ECS and has accordingly considered the AFC submitted for FY 2024–25, claiming the same for all the years of the control period FY 2026–27 to FY 2030–31 in the absence of a final tariff order issued by CERC.  DVC prays that the Hon’ble Commission may allow the FGD costs provisionally, subject to revision upon issuance of the relevant CERC orders. The relevant extracts of the petition filed before CERC are attached as ANNEXURE-4.

| Sl. No. | Station & Unit | Date of Commercial Operation (DD/MM/YYYY) |
| --- | --- | --- |
| 1 | MTPS U#7 | 26/01/2024 |
| 2 | MTPS U#8 | 29/03/2024 |
| 3 | DSTPS U#1 | 01/04/2024 |
| 4 | RTPS U#1 | 21/04/2024 |
| 5 | BTPS-A | 22/06/2024 |
| 6 | KTPS U#1 | 02/07/2024 |
| 7 | KTPS U#2 | 01/04/2025 |
| 8 | RTPS U #2 | 14/12/2024 |
| 9 | DSTPS U#2 | 27/12/2024 |

In addition, DVC anticipates COD of FGDs at MTPS Units 1 to 6 during the control period FY 2026–27 to FY 2030–31. The AFC for these FGDs has been estimated in a justified manner and claimed in the ARR.

DVC further submits that the present petition is being filed before this Hon’ble Commission based on the input cost as considered in the aforesaid tariff petitions submitted before CERC for the period FY 2024-25 to 2028-29. Tariff orders in respect of the said petitions for FY 2024-29 are yet to be issued by CERC. DVC craves leave to revise the ARR and applicable tariff for the consumers on receipt of the aforesaid tariff orders from CERC. Adjustment of ARR as per final determination of tariff by CERC for the tariff period 2024-29 will be done by DVC accordingly.

  - Variable Cost of Own Generation: DVC respectfully submits that the Energy Charge Rate (ECR) for the control period has been assumed to be the same as the actual ECR for FY 2024–25. Estimation of electricity generation from DVC’s thermal stations has been projected based on historical trends, fuel availability, and planned maintenance schedules. Auxiliary consumption for thermal stations has been considered in accordance with CERC (Terms and Conditions of Tariff) Regulations, 2024, which defines AUX (normative auxiliary consumption for generating stations) and AUXe (separate auxiliary consumption for Emission Control Systems/FGDs). Similarly, generation from hydel stations has been projected based on historical trends and maintenance schedules, with auxiliary consumption consistent with prior practice.

  - Cost of Renewable Power Generating Plants: DVC respectfully submits that, with regard to the generation cost of solar power plants, the Hon’ble CERC has approved a levelized tariff of ₹4.20/kWh for the 10 MW Ground Mounted Solar PV Plant at KTPS, Koderma in its tariff order dated 23.03.2025, and ₹3.62/kWh for the 8 MW Ground Mounted Solar PV Plant at Panchet in its interim order dated 20.03.2025. The relevant portions of these approved tariffs has been annexed as ANEXXURE-5. Accordingly, in the instant petition, DVC has considered these approved tariffs as the cost of power for the respective plants.

Further, based on anticipated CODs during the control period, DVC expects commissioning of the following renewable plants: 6 MW Floating PV at KTPS; 10 MW Floating Solar PV at RTPS; 14 MW Floating Sloar PV at MTPS; 8 MW Konar (Ground Mounted); 10 MW Floating Solar PV at CTPS; 234 MW Floating Solar PV at Maithon Dam; and 228 MW Floating Solar PV at Konar Dam. For these proposed plants, the provisional tariffs have been projected using appropriate assumptions. However, DVC respectfully submits that the tariffs indicated herein for the relevant period shall remain subject to adjustment based on tariff orders issued by the Hon’ble Commission.

The total generation from the above mentioned solar PV plants during FY 2026-27 to FY 2030-31 period has been projected considering 22.5% capacity utilization factor (CUF) for floating & ground mounted solar power plant.

- Source-wise cost of own generating plants of DVC as considered on projection basis for finalizing ARR for the control period FY 2026-27 to FY 2030-31 & Tariff of FY 2026-27 are furnished herewith in ARR computation sheets annexed as ANNEXURE-6.

- The composite T&D loss level is proposed to be adjusted in the Damodar Valley command area forming part of the state of Jharkhand and West Bengal by this Hon’ble Commission.  DVC submits that this Hon’ble Commission may kindly consider the losses proposed to be incurred by DVC at the transmission and distribution level in the retail supply of electricity and account for the same in a unified and equitable manner applicable in both the states of Jharkhand and West Bengal. DVC humbly submits that the projected T&D loss has increased compared to that estimated for FY 2025-26, and there is an increasing trend of T&D loss from FY 2026-27 to FY 2030-31. Such increase is attributable to a projected increase in the share of lower voltage sales (LT and11 kV) during the control period compared to sale at 33 kV, 132 kV and 220 kV. The same is represented in the following table.

| Particulars | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 |
| --- | --- | --- | --- | --- | --- |
| Sales % of LT and 11 KV in overall sales | 1.32% | 1.65% | 1.90% | 2.04% | 2.39% |
| Sales % of 33KV, 132 KV and 220 KV in overall sales | 98.68% | 98.35% | 98.10% | 97.96% | 97.61% |
| Projected T&D loss (%) | 3.52% | 3.60% | 3.65% | 3.82% | 3.96% |

In consideration of the above, this Hon’ble Commission is humbly requested to approve the T&D loss trajectory as proposed by DVC for the MYT Control Period.

- Power Purchase Cost (Non Renewable sources)

- DVC purchases power from a range of sources to meet its supply obligations within the Damodar Valley area. In accordance with Sections 61, 62, and 63 of the Electricity Act, 2003, and relevant CERC and State Electricity Regulatory Commission (SERC) regulations, the cost of power procurement and transmission is considered a legitimate input cost in the determination of retail supply tariff.

- DVC currently sources power from Central Sector Generating Stations (CSGS) such as NTPC and NHPC, as well as from other entities including Bhutan Hydro Power (through PTC), MPL, KBUNL, and the Power Exchange. These purchases are undertaken to ensure adequacy of supply and maintain grid stability. In case of a contingency situation i.e. shortage of own generation or CSGS/MPL etc., DVC meets the real time demand by purchasing power from power exchanges.

- The projections have been made considering trend of past purchase quantum and average price, recent performance of generating stations and expected improvement thereon as well as the averaging of seasonal fluctuations. The power purchase quantum for different generating stations have been projected as under:

- The power purchase cost from Central Sector Generating Stations (CSGS) such as NTPC, NHPC, KBUNL, and others, as well as from Bhutan Hydro Power (through PTC) and MPL, has been projected based on suitable assumptions in the absence of final tariff orders issued by the Hon’ble CERC for the relevant control period. These projections have been made considering historical trends, and prevailing rates, and are subject to revision upon issuance of the applicable tariff orders by the Hon’ble Commission.

- For Teesta hydro plant, no projection of power purchase has been considered in FY 2026-27 to FY 2030-31 as the hydro plant has been damaged due to floods and is not in operation at present.

- Renewable power purchase & RPO Compliance:

- DVC procures renewable energy from NTPC Solar, NVVNL Solar, DVC Solar Rooftop (JEM), and through market mechanisms such as the Green Day Ahead Market (GDAM) and Green Term Ahead Market (GTAM). Further, DVC has entered into new PPAs for renewable capacity, including: 315 MW Solar project by NTPC REL at Khavda, Gujarat; 310 MW Floating Solar projects at Panchet and Tilaya; Projects developed by Avaada Inclean Pvt Ltd, Avaada Pvt Ltd, Renew Power Pvt Ltd; 250 MW Solar capacity by ACME in Rajasthan.

- In accordance with Note 2 of JSERC (Renewable Energy Purchase Obligation and its Compliance) (Second Amendment) Regulations, 2024, large hydro projects commissioned after 31st March 2024 shall be considered for meeting Hydro Purchase Obligation (HPO). The relevant provision states:

“Note 2:The hydro renewable energy component shall be met only by energy produced from Hydro Power Projects [including Pump Storage Projects (PSPs) and Small Hydro Projects (SHPs)], commissioned after the 31st March, 2024:

Provided that the hydro renewable energy component may also be met out of the free power being provided to the State/DISCOM from the Hydro Power Projects commissioned after the 31st March, 2024:

Provided further that the Hydro Renewable Energy component may also be met from Hydro Power Projects located outside India as approved by the Central Government on a case to case basis.”

- Accordingly, DVC has projected procurement from upcoming hydroelectric projects of NHPC, including Teesta VI HEP, Parvati II, Kiru HEP, and Rangit IV HEP. A PPA has also been executed for procurement from Punatsangchhu II HEP and the 1200 MW Pumped Storage + Solar Project by GreenKo at Peenapuram/Kurnool, Andhra Pradesh. These hydro projects have been duly considered by DVC for meeting its Hydro Purchase Obligation (HPO) in accordance with applicable Regulations.

- The projections have been made considering the capacity allocated to DVC, design energy in case of hydro, and Capacity Utilization Factor (CUF) for solar/hybrid projects. The per-unit cost of power purchase for different sources has been projected as under:

- The cost of renewable energy purchased from NTPC Solar, NVVNL Solar, and DVC’s own rooftop solar installations (e.g., JEM) has been considered based on past trends.

- For new hydro, and solar capacities, the expected tariffs have been projected based on appropriate assumptions and have been claimed accordingly.

- The cost of power procured through market mechanisms such as the Green Day Ahead Market (GDAM) and Green Term Ahead Market (GTAM) has also been projected using suitable escalation assumptions. These projections account for market variability and are based on recent trends in exchange-based renewable energy procurement.

- Along with these renewable power purchases, DVC’s own renewable generation sources have also been considered for meeting the RPO obligations.

- The Renewable Purchase Obligations (RPO) of DVC for the entire MYT period in the State of Jharkhand have been considered in line with the presently applicable Regulations notified by this Hon’ble Commission.

- DVC humbly submits before this Hon’ble Commission the detailed calculation of Renewable Purchase Obligation (RPO) for FY 2026–27 to FY 2030–31, prepared in accordance with JSERC (Renewable Energy Purchase Obligation and its Compliance) (Second Amendment) Regulations, 2024.

- DVC supply pooled power to its consumers and licensees (receiving power in radial/consumer mode) located within its operational area in both Jharkhand and West Bengal, primarily from its own generating units. The balance demand is met through power purchased from various sources as detailed in the preceding paragraphs. It is respectfully submitted that the projected firm sale to consumers during FY 2026–27 to FY 2030–31 is commensurate with their respective existing contract demand and consumption profile, based on actuals and projected increase in demand using trend analysis of past data for the State of Jharkhand. In addition to organic growth in demand, a significant increase in industrial consumption is anticipated, notably from Steel Authority of India Limited (SAIL) in the Jharkhand region. SAIL has indicated an incremental demand of approximately 490 MW for Jharkhand and West Bengal, which is expected to materially augment overall system demand beyond trend-based projections.

- Inter State Transmission Charges & Other Incidental Charges:

- DVC avails the services of the Power Grid Corporation of India Limited (PGCIL) and its subsidiaries for conveyance of electricity from the place of generation of NTPC, NHPC etc. through inter-state transmission for delivery in the DVC Area as per the POC mechanism. DVC also has to pay for the ULDC scheme installed by PGCIL to facilitate load dispatch activities by RLDCs. The charges paid by DVC to PGCIL, and other incidental charges paid by DVC becomes an input cost for the purpose of deciding the retail supply tariff for sale and supply of electricity by DVC to consumers in the Damodar Valley area. Transmission and other incidental charges payable to PGCIL and other Transmission utilities for FY 2026-27 to FY 2030-31 has been projected considering 2% escalation factor from the actual cost of FY 2024-25.

- AMC Charges for ULDC scheme

- In addition to above, DVC is also paying the charges pertaining to Annual Maintenance Contract (AMC) given to PGCIL for maintenance of the hardware installed by PGCIL in the DVC periphery under the ULDC scheme in Eastern region. DVC is paying the AMC Charges separately to PGCIL and other vendors in line with the CERC order dtd. 14.12.2017 (petition no. 232/TT/2016) in which PGCIL submitted that AMC of SCADA/EMS systems established under ULDC Scheme for all the constituents is the responsibility of the respective SLDCs in line with the ER-ULDC project and therefore no claim under O&M expenses has been charged for the same while determination of tariff by CERC. As such, the Central Electricity Regulatory Commission has not allowed any expense under O&M charges of ULDC assets in the mentioned tariff orders. Accordingly, DVC pays the AMC charges to PGCIL and other vendors for maintenance of the communication scheme established under the ULDC scheme as mentioned above under the existing contract agreement for such work.

- Thus, DVC has considered the AMC charge for the ULDC scheme for the control period FY 2026-27 to FY 2030-31 based on actual charges paid during FY 2024-25 with 2% escalation considered for each year from the base year.

- Cost of 11 kV distribution infrastructure

- It is submitted that, in terms of Section 43 of the Electricity Act, 2003, DVC, as a distribution licensee, is under a statutory obligation to provide electricity supply to any applicant upon receipt of a complete and valid application. This mandate requires the licensee to create, augment, or extend the necessary distribution infrastructure including 11 kV networks, wherever such development is required to meet consumer demand. Accordingly, when consumers within the Jharkhand command area seek supply at the 11 kV voltage level, DVC is duty-bound to develop the requisite 11 kV distribution system to ensure compliance with this statutory requirement.

- During the public hearings held on 03.09.2024 and 04.09.2024 for the True-up of FY 2023-24, several consumers and industrial stakeholders expressed a clear and substantial interest in availing power supply from DVC at the 11 kV voltage level. Multiple written representations have also been submitted by these consumers requesting 11 kV supply from DVC, thereby reinforcing the actual and emerging demand for such infrastructure in the Jharkhand command area.

- As mandated under Section 43 , DVC is bound to supply electricity at the 11KV voltage level to  consumers in the Jharkhand command area whenever such supply is requested by the consumers. Consequently, the distribution licensee is required to create ,augment ,or extend the necessary distribution infrastructure to meet the demand for supply at the 11 KV volatge level .

- In furtherance of this obligation, DVC had filed a separate petition before this Hon’ble Commission on 23.03.2023 seeking in-principle approval of the Detailed Project Report (DPR) for creation of 11 kV distribution infrastructure in the valley area. However, vide Order dated 11.08.2023, this Hon’ble Commission directed DVC to re-submit the same as part of its Business Plan along with the next tariff petition. Accordingly, DVC re-submitted the DPR and Business Plan on 04.12.2023 along with the True-up Petition for FY 2022-23, APR for FY 2023-24 and ARR & Tariff for FY 2024-25.

- It is respectfully submitted that, in the petition dated 04.12.2023 (including the Business Plan), DVC sought approval for the proposed capital expenditure pertaining to the creation of the 11 kV distribution system in the State of Jharkhand. The said capital investment was proposed to be accounted for under the distribution business in accordance with Clauses 6.9, 6.10 and 6.11 of the JSERC MYT Regulations, 2020.

- In the said petition, DVC had accordingly projected the capital cost of 11 kV distribution assets for FY 2023-24 and FY 2024-25 based on estimated requirements for supplying power to 11 kV consumers in Jharkhand.

- In the Business Plan, DPR and Petition, DVC had proposed the development of the required 11 kV network in Jharkhand to facilitate supply at the 11 kV voltage level. It is submitted that, although such infrastructure has been created to meet actual consumer demand, DVC has not claimed the corresponding capital cost before the Hon’ble CERC. The expenditure incurred is strictly for fulfilling DVC’s statutory obligation under Section 43 of the Electricity Act, which requires supply to be provided on demand and necessitates the creation of adequate distribution infrastructure wherever such applications are received.

- However, while issuing the tariff order dated 30.09.2024, this Hon’ble Commission did not approve the Business Plan or the capital investment plan relating to the creation of the 11 kV distribution infrastructure.

Compliance with Hon’ble JSERC directions

- In its Tariff Order dated 30.09.2024 and 27.05.2025, the Hon'ble JSERC acknowledged the complexities of DVC operating in an area already licensed to JBVNL and urged both parties to engage constructively and submit mutually agreeable, legally viable proposals. Accordingly, this Hon’ble Commission held one meeting with DVC and JBVNL at JSERC Office, Ranchi on 17.04.2025 towards finding a mutually agreeable solution. DVC also submitted Affidavit before this Hon’ble Commission on 17.04.2025 replying the queries made by the Commission on the issue.

- As directed by the Hon’ble Commission, Senior officials of DVC and JBVNL again met at JBVNL Office on 23.04.2025 to resolve the issue. Further, DVC in compliance of Hon’ble Commission’s directive, shared the Minutes of the said meeting with JBVNL with this Commission vide letter dated 15.07.2025. Relevant supporting documents are attached as ANNEXURE-7.

Existing T&D system of DVC and declaration for 11 KV infrastructure:

- The Hon’ble APTEL vide its judgment dated 23.11.2007 in Appeal No. 271 of 2006 and batch, held that the network of DVC constitutes a Unified Deemed Inter-State Transmission System, covering both transmission and distribution elements, including voltage at 33 kV. This view has been upheld by the Hon’ble Supreme Court on 23.07.2018 in the case of Bhaskar Shrachi vs DVC & Ors, thereby settling the matter with finality.

- In light of the above, the existing T&D network of DVC cannot be bifurcated into separate transmission and distribution assets. The capital expenditure incurred on such assets is accordingly serviced through Transmission Tariff as determined by the Hon’ble CERC, and not through any distinct retail wire business tariff. Further, in terms of the DVC Act, and under the directions of the Comptroller and Auditor General (CAG), DVC prepares its annual audited accounts. Accordingly, DVC cannot unilaterally alter the manner of preparation of its accounts without prior consultation with or direction from the CAG.

- However, to comply with the directions of Hon’ble JSERC, DVC has formally intimated to the CAG on 16.04.2025 that a separate Balance Sheet and Profit & Loss Account for its 11 kV Distribution business will be prepared and appended as an annexure to the main accounts from FY 2024–25 onward. Therefore, for the proposed 11 kV System and associated assets, DVC can prepare a separate Balance Sheet and Profit & Loss Account, to be appended as an annexure to the main audited accounts. This would ensure full transparency with respect to 11 kV system (including the associated assets) while maintaining statutory and regulatory compliance.

- In view of the settled legal position and the integrated nature of DVC’s existing Transmission and Distribution system, which has been recognized as a unified Deemed Inter State Transmission System by both the Hon’ble APTEL and the Hon’ble Supreme Court, any bifurcation of existing assets into separate transmission and distribution components is neither feasible nor permissible.  Consequently, the corresponding financial accounts cannot be segregated. However, in order to ensure regulatory transparency and compliance with the directions of the Hon’ble JSERC, DVC is maintaining a separate Balance Sheet and Profit and Loss Account for the proposed 11 kV system and its associated assets as reflected in the annual audited accounts of DVC.

- Upon implementation of the 11 kV infrastructure, DVC will submit the necessary financial statement, as required, for determination of tariff, duly audited by Chartered Firm. DVC also submits in this regard that the audited financial statement for submission before the State Commissions of Jharkhand and West Bengal will also contain necessary reconciliation with the Audited Annual Accounts of DVC indicating the Capex segregation between Existing T&D Network (i.e. existing ‘Unified Deemed Inter-State Transmission system’ which is under the purview of CERC) and newly developed 11 KV and associated network for Jharkhand and West Bengal. This will ensure clear visibility of capital cost incurred exclusively for 11 KV power supply in both the states for recovery through Tariff to be determined by Hon’ble JSERC and that for West Bengal to be recovered through Tariff determined by Hon’ble WBERC.

- As mentioned above, pursuant to directions issued by Hon’ble JSERC vide Order dated 11.08.2023, DVC already filed investment proposal in respect of setting up of 11 KV infrastructure for Jharkhand consumers in valley area, as a Business Plan on 04.12.2023.

- Therefore, in light of the above , the actual capital cost incurred for effecting such supply of power to the consumers is meant for the consumers located in the state of Jharkhand and meant solely for 11 KV distribution power supply. DVC also herein submits respectfully that such capital expenditure has neither been claimed before CERC nor a part of the DPR as submitted for approval vide petition dated 04.12.2023 (last tariff petition submitted by DVC) as business plan which this Hon’ble Commission did not approve in the tariff order dated 30.09.2024. As such the claimed capital cost is not a part of the inter-state transmission network of DVC.

- Rather these 11 KV assets are purely intra state T&D asset. Hence CERC does not have jurisdiction for determination of tariff for such assets. Jurisdiction for determination of tariff for such expenses naturally lies with the State Commission. On the same ground Hon’ble WBERC has approved the DPR of DVC for 11 KV infrastructure. Accordingly, the Annual Fixed Cost has been computed at actuals for such new addition of distribution assets in the DVC system has been considered as the input cost of the Distribution Activity of DVC in the State of Jharkhand.

- In this context, it is also important to note that DVC is also creating 11 kV distribution infrastructure in the state of West Bengal and the Hon’ble WBERC has already approved the business plan for creation of necessary infrastructure in the West Bengal part and the associated cost of the infrastructure, as per the above proposal is also approved separately by WBERC in its tariff order dated 13.03.2024.

- In order to avoid ambiguity between the consumers of the two states, it is requested that the Hon’ble Commission may kindly approve the above proposal and consider the 11 kV infrastructure cost separately (in line with the approach of Hon’ble WBERC). In this context, it is also important to note that this infrastructure would result in additional sales for DVC to new 11 kV consumers and as such would not result in increase in cost of supply for other existing consumers. On the other hand, this would increase competition and provide alternate and affordable option for 24 x 7 quality power supply to the 11 kV consumers to their satisfaction and requirement in the license area, which is in accordance with Section 61(c), Section 60 and related relevant clauses of Electricity Act 2003.

- Based on the actual cost, the estimation for the projected cost for 11kV distribution asset creation has been submitted for ARR of period FY 2026-27 to FY 2030-31. A detail computation sheet for the projection of the cost associated with the 11kV distribution asset creation is submitted as ANNEXURE-6.

- AFC for the 11 KV assets have been computed based on applicable regulations and the following assumptions:

- Interest Rate for Loan – 7.84% (actual interest rate for FY 2024-25);

- Interest rate on Working Capital = 12.25% (as per applicable regulations);

- Depreciation = 7.84%(CAG rate for depreciation);

- O&M cost – DVC submits that the O&M cost has been projected by applying a 5% annual escalation over the actual cost booked for FY 2024–25. As the project is in its initial stage, the recorded cost for FY 2024–25 is significantly lower than expected normative levels. DVC craves leave to revise its submission and to allow the O&M cost on actual basis in future years, rather than relying on the projected figures, as the base year (FY 2024–25) cost is abnormally low due to the project being in its initial stage.;

- Return on Equity @ 15% (as per regulation 10.19 of JSERC Tariff Regulations, 2025).

- Interest on Working Capital

- DVC in the instant petition has claimed the Interest on Working Capital (IWC) in accordance with the Regulation 10.31 and 10.32 of the JSERC “Terms and Conditions for Determination of Distribution Tariff Regulation, 2025”. The rate of interest on Working Capital has been taken as 1 year SBI MCLR rate as on 30.09.2025 + 350 b.p., which is @ 12.25% and the same rate of interest has been considered for all the years of the control period.

- Regulatory Fees, Publication Expenses and Related expenditure

- In addition to above items DVC has claimed the Tariff filing fees, license fees etc. to be paid before Hon’ble Central Commission as well as before the State Commission in terms of the relevant Fees regulation of the respective Commission for the concerned period on estimation basis.

- Legal Expenses

- DVC has also claimed the projected the cost of legal expenses in line with the Regulation 10.7 of the JSERC “Terms and Conditions for Determination of Distribution Tariff” Regulations, 2025 and claimed the said expenditure with 2% escalation during each year of the control period from the True Up year FY 2024-25.

- Environmental and Other Cess

- DVC has also estimated the environmental protection and other Cess to be paid to different authorities in the state of Jharkhand and West Bengal based on the actual expenses incurred during FY 2024-25. DVC has claimed the said expenditure with 2% escalation during each year of the control period from the True Up year FY 2024-25.

- Interest of Consumer Security Deposit

- Interest on cash security deposit (CSD) has been computed in accordance with the JSERC (Electricity Supply Code) Regulation 2015. Estimation of Interest on Consumer security deposit is made on average of actual CSD during FY 24-25. This average CSD for FY 2024-25 is further increased by 2% every year for the complete control period. Interest rate on CSD has been considered as SBI base rate year as of 30th September 2025 plus 350 basis @ 12.25% for all the years of the control period. Interest on CSD for the control period has also been computed on the average CSD for the year.

- Non Tariff Income

- The Non-Tariff Income has been computed by considering Delayed Payment Surcharges (DPS) from consumers on account of Distribution business in Jharkhand for FY 2024-25. NTI has been estimated for the control period by escalating the actual interest booked for FY 2024-25 for Jharkhand by 2% each year for the control period.

- This Hon’ble Commission is humbly requested to approve the Non-Tariff Income as per the final order issued by Hon’ble APTEL, dated 15.10.2024 in Appeal No. 332 of 2024 and the compliance order wherein ,in terms of the Hon’ble APTEL direction ,this Hon’ble Commission  determined the NTI attributed to DVC by only considering DPS as NTI for  to DVC  by distribution activity of DVC for Jharkhand command area.

- DVC in this regard respectfully submits that, the Hon’ble JSERC has considered only the Delayed Payment Surcharge amount as Non-Tariff Income for Distribution Activity of DVC in the previous orders until the order dated 31.10.2023 for the period FY 2006-07 to FY 2011-12. In the order dated 31.10.2023 and also in subsequent orders, the Commission has considered the entire other income booked in the annual report of DVC as the Non-Tariff Income and deducted it from the ARR. Aggrieved with the order dated 31.10.2023, DVC filed appeal (being appeal no. 845 of 2023) before Hon’ble APTEL. The Hon’ble Tribunal while disposing the appeal vide order dated 05.02.2024, held the following,

“The 1st Respondent Commission’s jurisdiction to determine the tariff is confined only to the retail supply business of the Appellant within the State of Jharkhand, and not beyond. Consequently, the 1st Respondent Commission lacked jurisdiction to include the non-tariff income of the Appellant arising from its generation, transmission and other businesses as its non-tariff income with respect of its distribution business. The tariff of the Appellant, with respect to its generation and transmission business, is determined by the CERC in terms of its Regulations; determination of the tariff for its distribution business in the State of West Bengal falls within the jurisdiction of WBERC, and in the State of Jharkhand within the jurisdiction of the 1st Respondent Commission. Even if the CERC had not taken into consideration the non-tariff income derived by the Appellant from its generation, transmission and other businesses, in determining its tariff, such an error could only have been corrected by the CERC; and the mere fact that it may have a bearing on the input cost, while determining the tariff of the Appellant’s distribution business in the Sate of Jharkhand, would not confer jurisdiction on the 1st Respondent to reduce such non-tariff income from the annual revenue requirement of the Appellant for its distribution business in State of Jharkhand.

Since determination of the non-tariff income of the Appellant will have a bearing on determination of their ARR for FY 2006-07 to FY 2011-12, we request the Commission to undertake the exercise with utmost expedition, and endeavor to pass an order afresh at the earliest, preferably within three months from the date of receipt of a copy of this order. Needless to state that, before passing an order afresh in the light of the aforesaid observations, all the parties to the proceedings shall be afforded a reasonable opportunity of being heard. The appeal is, accordingly, disposed of. All pending IAs, if any, shall stand disposed of.”

- Hon’ble JSERC thereafter, directed DVC to submit segregated NTI among its various businesses. DVC complied with the same and submitted segregated NTI. However, in the revised order dated 23.07.2024, this Hon’ble Commission again considered entire ‘Other Income’ as Non-Tariff Income for distribution business as was decided in the order dated 31.10.2023.

- Being aggrieved, DVC filed another appeal before APTEL (being the appeal No. 332 of 2024 & IA No. 1282 of 2024) against the order dated 23.07.2024. The appeal emphasizes that NTI should only include income from the licensed distribution business in Jharkhand.  After hearing the matter, the Hon’ble APTEL in its judgment dated 15.10.2024 has held as under:

“Based on the above deliberations, the impugned order is stayed to the extent that it considers entire balance NTI, other than DPS, as NTI for distribution business and JSERC is directed, as observed in the impugned order, to calculate category wise tariff for the period under consideration, taking into account only delayed payment Surcharge (DPS) as non-tariff Income for Distribution Business, after apportioning it to Jharkhand area of sales vs total sales of DVC. Needless to state that the above directions are subject to the result of main appeal.”

- In compliance to the above directives given by the Hon’ble Tribunal, Hon’ble JSERC issued the revised category wise retail supply tariff order for FY 2006-07 to FY 2011-12 on 10.12.2024 after considering Delayed Payment Surcharge as the only Non-Tariff Incomeof distribution business in the state of Jharkhand. It is also pertinent to mention here that on 27.01.2025, the Hon'ble Supreme Court refused to interfere with the Order dated 15.10.2024 passed by the Hon'ble Tribunal and dismissed the Civil Appeals filed by the Consumer Association and SAIL [CA (Diary) No. 60490 of2024 and CA (Diary) No. 60807 of 2024].

A copy of the order dated 27.01.2025 passed by the Hon'ble Supreme Court in CA (Diary) No. 60490 of 2024 and CA (Diary) No. 60807 of 2024along with  relevant portion of the judgments dated 05.02.2024 and 15.10.2024 are attached herewith as ANNEXURE-8.

- This Hon’ble Commission may graciously be pleased to appreciate the fact that though the afore-stated directions belong to the period FY 2006-07 and FY 2011-12, but, so far as the legitimacy for consideration of the different line items of ‘Other Income’ of DVC as per the Audited Annual Accounts is already settled by the Hon’ble APTEL in the judgments dated 05.02.2024 and 15.10.2024.

- More precisely Hon’ble APTEL has specifically directed the Hon’ble Commission in the judgment dated 15.10.2024 to consider only the DPS arising out of Jharkhand consumers as NTI for finalizing the ARR and Tariff therefrom. It is also not out of place to mention again that this Hon’ble Commission in previous orders also acted in the same line. Moreover, Hon’ble WBERC in all the tariff orders issued so far, has considered only the DPS for distribution business of DVC as NTI.

- Therefore, it is respectfully submitted that the issue relating to the scope and contours of “Non-Tariff Income” for DVC’s distribution business already stands conclusively settled for the period FY 2006-07 to FY 2011-12 under an identical regulatory framework. The applicable JSERC Tariff Regulations both then and now provide that only DPS may be considered as Non-Tariff Income for the purpose of determining the ARR of the distribution licensee.

- Hence, DVC prays before the Commission to accept the Non-Tariff Income based on the claim to consider only DPS as the only Non-Tariff Income attributed to DVC for the distribution business over Jharkhand command area.

- Interest on Temporary Financial Accommodation

- Interest on Temporary Financial Accommodation has been estimated for the control period by escalating the actual interest booked for FY 2024-25 for Jharkhand by 2% each year for the control period.

- Beta factor” (ß) incentive

- In accordance with Clause 62(5) of the CERC (Terms and Conditions of Tariff) Regulations, 2024, the Hon’ble Commission has introduced a performance-based “beta factor” (ß) incentive for thermal generating stations, capped at 1% of the approved Annual Fixed Charges (AFC). This incentive is based on the station’s Average Monthly Frequency Response Performance and aims to promote grid stability through active frequency control. As per the regulations, the beta factor is to be computed using the methodology prescribed by NLDC, approved by the Hon’ble Commission, and certified by the respective RPCs. For projection purposes, DVC has considered a beta factor as maximum of 0.31 or as certified by ERPC vide letter dated 21.10.2025. Accordingly, DVC has determined the beta factor incentive for its thermal stations and claimed the applicable portion under its distribution activity in this MYT petition for the period.

- Open access charges:

- DVC submits that its own T&D network is exclusively utilized for distribution and retail supply, after due adjustment for open access allowed. Accordingly, the entire T&D cost as submitted before CERC is claimed as input cost for the distribution and retail supply business in Jharkhand and West Bengal, after adjusting open access charges in accordance with the CERC order 87/MP/2021 dated 07.08.2023

- The actual open access charges adjusted during FY 2024–25 have been escalated by 2% annually for the control period, and the corresponding amounts have been duly factored into the ARR for subsequent years.

SALIENT FEATURES PROPOSED IN TARIFF FOR FY 2026-27: -

- Tariff philosophy, considered for the purpose of formulation and designing the tariff, is based on the latest Tariff Order issued by JSERC dated 27.05.2025 and is explained hereunder: -

- The Hon’ble Commission, vide Order dated 27.05.2025, approved the Time of Day (TOD) and Non-TOD tariff of DVC for FY 2025–26. DVC respectfully proposes that the same tariff structure of  TOD and NON TOD be considered by this Hon’ble Commission while determining the tariff for FY 2026–27.

- Prompt Payment Rebate and Rebate for Online Payment

DVC proposes the due date for making payment of energy bills or other charges as for High Tension (HT) and Extra High Tension (EHT) consumers  to be 15 (fifteen) days from the date of billing and for Low Tension (LT) consumers to be 21( twenty one ) days from the date of billing which is in line with the the JSERC (Terms and Conditions for Determination of Distribution Tariff) Regulations, 2025 .

DVC also proposes the Prompt Payment Rebate for payment of bills by the Consumers in accordance with Clauses 10.80 of the JSERC (Terms and Conditions for Determination of Distribution Tariff) Regulations, 2025, as amended from time to time.

Clause 10.80: - “For payment of bills by the Consumers (Capacity Charge and Energy Charges) within 5 days of presentation of bills by the Distribution Licensee, a rebate of 2.00% shall be allowed.”

No rebate is proposed to be allowed for payment after due date irrespective of the mode of payment.

- DVC proposes that the Delayed Payment Surcharge shall be applicable as specified in Clauses 10.75 and 10.76  of the JSERC (Terms and Conditions for Determination of Distribution Tariff) Regulations, 2025, as amended from time to time.

“10.75 In the event of delayed payment or non-payment of any bill raised by the Distribution Licensee towards the retail supply of electricity, the consumer shall be liable to pay Late Payment Surcharge (LPS) on the outstanding billed amount, including applicable taxes, cess, duties, and statutory levies, beyond the following due dates:

  - High Tension (HT) and Extra High Tension (EHT) consumers – 15 (fifteen) days from the date of billing.

  - Low Tension (LT) consumers – 21 (twenty-one) days from the date of billing.

10.76 The rate of Late Payment Surcharge shall be:

i. For Delay beyond the respective due date till sixty days (60 days) – LPS shall be levied at twelve percent (12%) per annum on the outstanding amount, calculated on a simple interest basis

ii. For delay beyond sixty days (60) days and up to ninety (90) days – interest on delayed payment shall be levied at fourteen percent (14%) per annum over and above the escalated cost as per Clause 10.76(i) for days beyond 60 days, on a simple interest basis, on the cumulative outstanding, including accrued LPS and statutory charges.

iii. For delay exceeding ninety (90) days – interest shall be levied at sixteen percent (16%) per annum over and above the escalated cost as per Clause 10.76(ii) for days beyond ninety (90) days, on a simple interest basis, on the total outstanding, including accrued LPS and statutory charges.”

- DVC has proposed tariff rate (Energy Charges) in Rs./KVAh for respective category of consumers in line with the Tariff Order passed by this Hon’ble Commission dated. 27.05.2025.

- DVC also proposes single part tariff equal to the Average Cost of Supply (ACoS) for as Tariff for Charging Electric Vehicle in line with methodology as approved by this Commission in order dated 27.05.2025 for the DVC.

- It is further submitted that any statutory charges such as electricity duty etc. has not been included in the ARR and shall be allowed by the Hon’ble commission on actual basis.

- DVC humbly submits before the Hon’ble Commission to determine the cost reflective tariff for the consumers of Jharkhand that should be commensurate with the Average Cost Of Supply. It is humbly stated that the earlier tariff orders issued by the Hon’ble Commission were not cost reflective, and consequently the Average Billing Rate (ABR) was much lower than the approved average cost of supply. In the tariff order dated 27.05.2025 , the Hon’ble commission while determining the tariff for FY 2025 -26 has approved the average cost of supply as Rs 5.61 Rs /Kwh , however it is humbly submitted that  due to erroneous consideration of  power factor and non-consideration of rebates (Viz Load Factor rebate and Volatge Rebate ) in the tariff computation design , the effective billing rate for the consumers of Jharkhand hovers around 4.90 Rs/kwH , thus creating a gap of Rs 0.70/Kwh per unit of sale of power for DVC .

- The average power factor that has been found from the billing details from the sale of power to Jharkhand consumers is around 0.97 to 0.98 which is much higher than that has been considered by the commission (i.e around 0.90). This in turn is resulting in inflated figures of sale in MkVAH (= sale in KwH/power factor) during the respective years which in turn results in lower figure of variable charge being computed than what is actually incurred. Also the non-consideration of the load factor rebate and the voltage rebate in the tariff design results in the non-cost reflective tariff which becomes non commensurate with the Average Cost of Supply.

- Further, it is humbly stated that the matter of disparity between ACoS and ABR or effective billing rate was elaborated in detail in our earlier public hearings held on 10.03.2025 and 11.03.2025 at Hazaribagh and Maithon respectively. The table below depicts the revenue determined by the Hon’ble Commission in the order dated 27.05.2025 (Table No 86 of the order, dated rate is existing as on 27.05.2025 ), which is reproduced below with elaboration.

| Statement of Revenue at existing Tariff for FY 2025-26 (Before implementation of new Tariff order dtd 27.05.2025) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Category | No. of Cons. | Conn. Load (MVA) | Sales (MKWh) | Sales (MKVAh) | Sales (MKVAh) | Fixed Charge Rate | Energy Charge Rate | Fixed Charge | Energy Charge at 0.90 PF | Energy Charge at 0.97 PF | Total Revenue At 0.90 PF | Total Revenue At 0.97 PF |
|  |  |  |  | At PF of 0.90 | At PF of 0.97 |  |  | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) | (Rs. Cr.) |
|  |  | (K) | (A) | (B)=A/0.90 | (C) =A/0.97 | D | E | F=(K*D*12/10^4) | G=E*B/10 | H=E*C/10 | I=F+G | J=F+H |
| LT* Comml. | 5 | 78.3 | 41.2 | 45.7 | 42.4 | Rs. 150/kW/Month | Rs. 4.30/ kWh | 14.1 | 17.7 | 17.7 | 31.8 | 31.80 |
| HT Supply | 235 | 1270.1 | 7101.1 | 7890.2 | 7320.8 | Rs. 400/kVA/Month | Rs. 4.05/ kVAh | 609.7 | 3195.5 | 2964.9 | 3805.2 | 3574.6 |
| Trac./ Lic. | 12 | 566.0 | 3157.1 | 3507.9 | 3254.7 | Rs. 400/kVA/Month | Rs. 3.70 /kVAh | 271.7 | 1297.9 | 1204.3 | 1569.6 | 1475.96 |
| Total | 252 |  | 10299.5 | 11443.8 | 10617.9 |  |  | 895.4 | 4511.2 | 4186.9 | 5406.6 | 5082.3 |

- On scrutiny of the above it is apparent from the table that while converting the real energy (in kWh) to apparent energy (kVAh), this Hon’ble Commission has considered arbitrarily the average power factor as 0.90 whereas the actual average power factor of DVC in past few years is hovering around 0.97 to 0.98. It is clear from the above table that revenue at existing tariff would have been reduced by around Rs. 325 Crs., had the computation been made based on the actual power factor of 0.97 in place of 0.90.

- Further to the above as per the directives in the tariff orders of DVC, DVC is providing its consumers a load Factor Rebate of a significant amount as a percentage of the energy charge rate, in case average load factor exceeds 65%. In the FY 2024 –25 a load factor rebate of around Rs 330 crores (which is around 5.6 % of the net ARR of FY 2024-25) has been passed on to the consumers of Jharkhand for maintaining load factor beyond 65%. Non consideration of the Load Factor rebate during tariff design causes a significant impact to DVC in the form of inadequate tariff hike and a gap between Average Cost Of Supply and effective billing rate (ABR) as stated above.

- Therefore DVC prays before the Hon’ble commission that at the instant tariff petition while determining the tariff for FY 2026 -27 and for the subsequent years  to consider the actual power factor that is being maintained in Jharkhand distribution area and to consider the rebates while framing of tariff design so that the effective billing rate becomes commensurate with the average cost of supply and further creation of regulatory asset be avoided for  sustainability of distribution business in Jharkahnd .

- Detailed computation sheets in respect of Aggregate Revenue Requirement (ARR) for 2026-27 to 2030-31 in respect of DVC’s distribution activity in the state of Jharkhand is attached herewith as ANNEXURE-6. Relevant Tariff formats for Aggregate Revenue Requirement (ARR) for 2026-27 to 2030-31 related to distribution activity in the state of Jharkhand as per appropriate Tariff Regulations of this Hon’ble Commission are attached herewith as ANNEXURE -9.

- DVC submits that other terms and conditions of supply will be guided in terms of the relevant regulations as notified by this Hon’ble Commission and the latest Tariff Order. In addition to the tariff for supply of electricity, other applicable charges viz. disconnection charge, re-connection charge, penal demand charges for over-drawl etc. are proposed as per the Tariff Order issued on 27.05.2025 by this Hon’ble Commission.

- The present tariff petition also includes proposals for determination of tariff for power supply at LT voltage category. Accordingly, this Hon’ble Commission may be pleased to determine the tariff applicable to different categories of LT consumers located within the Damodar Valley Area in the State of Jharkhand.

- DVC craves leave to submit any additional data, information, clarification, modification along with necessary justification as may be required during pendency of the petition for tariff determination process by this Hon’ble Commission.

- DVC respectfully submits that the year-wise Average Cost of Supply (ACoS) proposed in this petition is based on the input costs discussed above. It is further submitted that past revenue gaps have not been factored into ACoS, as the matter is presently pending before the Hon’ble APTEL.

- DVC respectfully submits that, as per the Hon’ble Commission’s own past tariff orders, the DVC’s recoverable claim computed up to 31.03.2024 aggregates to ₹6,027 crores, inclusive of carrying cost at the applicable Late Payment Surcharge (LPS) rate. This quantification has been adopted from the revenue gap determined by this Hon’ble Commission in previous True-up Orders.

- In addition to the above, the differential impact on AFC arising from revision of Annual Fixed Cost of DVC’s generating stations amounts to approximately ₹1,200 crore. When this is considered together with DVC’s other legitimate claims pending adjudication in the connected Appeals, the cumulative recoverable amount will become more than ₹10,000 crore. Under Rule 23 of the Electricity Rules, 2024, all past period regulatory gaps, particularly those attributable to uncontrollable and pass-through cost elements, are mandatorily required to be adjusted in subsequent tariff periods to preserve the revenue-neutral character of a regulated utility. This obligation is consistent with the scheme of the Electricity Act as well as the principle upheld by the Hon’ble Supreme Court in BSES Rajdhani Power Ltd. & Anr. v. Union of India & Ors. pronounced on 06.08.2025.

- The Hon’ble Supreme Court recognized that the notion of a “Regulatory Asset” i.e., deferred recovery of revenue shortfall is not a freestanding statutory right but a regulatory construct that must operate within strict legal constraints. It held that tariff must remain cost-reflective and that creation or continuation of a revenue gap (regulatory asset) is permissible only in “exceptional circumstances,” such as force majeure or other uncontrollable events. The Court underscored that such gaps cannot be allowed to balloon indefinitely without a credible, time-bound liquidation plan.

- In light of the foregoing, DVC submits that the principles laid down by the Supreme Court provide compelling support for adjustment of the entire recoverable gap (including carrying cost) through appropriate tariff increase in the MYT period. Any fresh or carried-forward shortfall cannot be allowed to remain dormant on account of regulatory inaction. In fact, to respect the statutory/policy mandate under the National Tariff Policy, 2016 (and earlier 2006 version) and the statutory obligations under Rule 23, this Hon’ble Commission must ensure prompt liquidation via tariff adjustment, failing, which it risks repeating the “regulatory failure” that the Hon’ble Supreme Court struck down in the BSES case.

- Accordingly, for the purpose of determination of the ARR for the MYT Control Period FY 2026-27 to FY 2030-31, DVC prays that the entire revenue gap firm FY 2012-13 to FY 2025-26 be duly factored into the computation of revenue requirement. Only such complete adjustment of past period shortfalls can ensure that the determination of ARR for the MYT period is based on correct, complete, and statutorily compliant financial data, and that the revenue-neutrality mandated for distribution licensees is maintained.

- In this regard, it is submitted that the proceedings in O.P. No. 1 of 2025, initiated by the Hon’ble APTEL pursuant to the BSES Judgment of the Hon’ble Supreme Court (attached as ANNEXURE-10), directly concern the treatment of revenue gaps up to 31.03.2024, including the methodology for carry-forward, adjustment, and amortisation of such gaps under Rule 23 of the Electricity Rules, 2024.

- Given that the outcome of O.P. No. 1 of 2025 will have a bearing on the treatment of past-period revenue gaps and their amortisation across subsequent tariff periods, DVC respectfully prays that, if the final order in O.P. No. 1 of 2025 is pronounced prior to the issuance of the MYT Tariff Order for FY 2026-27 to FY 2030-31, this Hon’ble Commission may kindly take due cognizance of the same and incorporate its findings in the determination of ARR and tariff for the MYT Control Period.

- DVC craves leave to submit all additional data, workings, and documents that may be required or directed during the processing of this MYT Petition. DVC also seeks leave to suitably revise the ARR for the relevant MYT years should there be any change arising from:	
(a) issuance of True-up Orders by the Hon’ble CERC for the relevant period;
(b) judicial or appellate outcomes in any connected proceedings, including the Order in O.P. No. 1 of 2025; and	
(c) any other orders of the Hon’ble Courts/Tribunals having a bearing on tariff determination.

- The soft copy of the entire petition is submitted herewith in a pen drive which includes the editable format of all the relevant computation sheets and tariff formats in addition to the scanned copy of the entire petition.

- It is submitted that DVC has already paid the true-up filing fees of Rs. 70.0 Lakhs for the period FY 2026-27 to FY 2030-31 along with the instant submission through electronic mode in the bank account of Hon’ble Commission (UTR No. SBIN 525331702596, dated 27.11.2025, Indian Bank A/c No: 6605256646, IFSC: IDIB000R010), Sainik Bhavan, Main Road, Ranchi-834001. DVC therefore prays before this Hon’ble Commission to kindly acknowledge the receipt.

- In the facts and circumstances mentioned hereinabove, it is respectfully submitted that this Hon’ble Commission may be pleased to approve the ARR & Tariff for FY 2025-26 as per the instant submission and further additional submissions, if any, pertaining to distribution and retail supply of electricity to the consumers and licensees for the Damodar Valley Area falling in the state of Jharkhand.

PRAYER TO THE HONOURABLE COMMISSION

It is respectfully submitted that this Hon’ble Commission may be pleased to:

- Admit the present petition, determine the Aggregate Revenue Requirement (ARR) for FY 2026-27 to FY 2030-31 and Retail Tariff for FY 2026-27 based on the submissions herein made by DVC;

- Determine the new tariff schedule for applicable category of supply considering the revenue gap based on the submissions made in the present petition;

- Review the regulatory assets created from the period of FY 2012-13 to FY 2025-26, as provided above and approve roadmap for recovery of the same.

- Settle other commercial terms and conditions as proposed in the instant petition;

- Pass such other Order(s) as the Hon’ble Commission may deem fit and proper keeping in view the facts and circumstances of the case.

Date:                                                         Dy. General Manager (Comml)

Place: Kolkata                                     DAMODAR VALLEY CORPORATION