BEFORE THE JHARKHAND ELECTRICITY REGULATORY COMMISSION

CASE NO. _______________of 2025

IN THE MATTER OF:

Petition for approval for True up of FY 2024-25 for 1x63 MW Coal Fired CFBC Thermal Power Project under Section 61 & 62 of the Electricity Act 2003.

AND

IN THE MATTER OF:

Inland Power Ltd.										Petitioner

30, Chowringhee Road,

Flat 12, 3rd Floor,

Kolkata – 700016.

Email: info@inlandpower.in

&

Jharkhand Bijli Vitran Nigam Ltd. (JBVNL), Ranchi is the “Respondent” to the Petition.

List of Annexures:

- Annexure No. 1 – Annual accounts for FY 2024-25

- Annexure No. 2 – Data formats as per JSERC Tariff Regulations 2020 and its subsequent amendments

- Annexure No. 3 – Details for assets bought in FY 2024-25

- Annexure No. 4 - Water charges details for FY 2024-25

- Annexure No. 5 – SLDC availability certificate for FY 2024-25

- Annexure No. 6 – Operational parameters for FY 2024-25

- Annexure No. 7 – Summary of order of other Commission on auxiliary consumption for CFBC plants

- Annexure No. 8 – Auditor certificates for Fuel purchase and consumed with monthly details along with sample bills for purchase and transportation for FY 2024-25

- Annexure No. 9 – Copy of receipt of Filling Fees Paid and Tax Paid Details

- Annexure No. 10 – Details of invoices raised to JBVNL

Facts of the case:

- Inland Power Limited (IPL) has set up a 63 MW thermal power plant based on CFBC technology in Gola, District Ramgarh, Jharkhand. The commercial operation date of first unit of 63 MW is 21st May 2014.

- IPL signed a Power Purchase Agreement (hereinafter also referred to as “the PPA”) with Jharkhand State Electricity Board (now Jharkhand Bijli Vitran Nigam Limited or “JBVNL”) on February 23, 2012 for supplying 35 MW of 63 MW from Stage 1 of the Project on long term basis. Subsequently, IPL signed a supplementary PPA with JSEB (now JBVNL) on April 22nd, 2013 for purchase and sale of entire quantity of power to be generated from Unit 1 of 63MW inclusive of quantity mentioned in earlier Principal PPA. The agreements were signed in line with the MOU with Jharkhand Bijli Vitran Nigam Ltd.

- Since the CoD of IPL’s unit 1 on May 21, 2014, IPL has been filing MYT petitions, petitions for True Up and Annual Performance Review over the subsequent years.

- In view of the above, IPL in accordance with the provisions of Sec. 62 of the Electricity Act, 2003 and under the JSERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2020 & its amendments thereof, is submitting this instant Petition.

# Prayer to the Hon’ble Commission

The Petitioner respectfully prays that the Hon’ble Commission may:

- Accept the petition for True-up of FY 2024-25 and approve the numbers for the petition as discussed herewith.

- This Hon’ble Commission vide its orders dated 04-11- 2022 and 28-02-2023 has approved 100% recovery of fixed charges for FY 2014-15, FY 2016-17, FY 2017-18, FY 2018-19 and FY 2019-20.

- The same have been approved vide orders dated 22.05.2023 for FY 2020-21, 26.02.2024 for FY 2021-22, 23.07.2024 for FY 2022-23, and 27.05.2025 for FY 2023-24.

- The petitioner humbly requests the Hon’ble JSERC to also consider full 100% basis for the fixed cost recovery in the computation of True Up for FY 2024-25.

- Condone any inadvertent omissions/ errors/ rounding off differences/ shortcomings and permit IPL to add/ change/ modify this filing and make further submission as may be at a future date; and

- Pass such further and other orders, as the Hon’ble Commission may deem fit and proper, keeping in view the facts and circumstances of the case.

The Petitioner further declares that the subject matter of the petition has not been raised by the Petitioner before any other competent forum, and that no other competent forum is currently seized of the matter or has passed any orders in relation thereto.

Place: Ranchi

Date: 28 November 2025

----------------------------

On behalf of Inland Power Limited

# Table of Contents

Prayer to the Hon’ble Commission	iv

Table of Contents	v

List of Tables	vii

List of Abbreviations	viii

1	Background	9

1.1	Profile of Inland Power limited	9

1.2	About the Petition	10

1.3	Annual Accounts	10

2	True-up of 2024-25	11

2.1	Regulatory provisions	11

3	Fixed Cost of the Plant	11

3.1	Annual fixed cost for FY 2024-25	11

3.2	Return on Equity (ROE)	12

3.3	Interest on Loan	13

3.4	Interest on Normative Loan	14

3.5	Depreciation	14

3.6	Interest on Working Capital	16

3.7	Operation and Maintenance Expenses (O&M Expenses)	17

3.8	Water charges	18

3.9	Total Fixed Cost	18

4	Performance targets	19

4.1	Regulatory provisions	19

4.2	Gross Station Heat Rate (SHR)	19

4.3	Normative Annual Plant Availability Factor (NAPAF)	20

4.4	Auxiliary Energy Consumption	22

4.5	Secondary fuel oil Consumption	23

5	Energy Charges	23

5.1	Fuel Price and Calorific Value	23

5.2	Primary fuel cost	24

5.3	Secondary fuel oil cost	25

5.4	Computation of Energy Charge	25

6	Other Expenses	25

6.1	Application Fee and Publication Expenses	26

6.2	Actual Tax paid	26

6.3	Ash Handling Expenses	27

6.4	Security Expenses	31

6.5	Total Other expenses	32

7	Summary of submissions for True-up of FY 2024-25	33

7.2	Annual Fixed Cost	33

7.3	Energy Charges	33

7.4	Other Expenses	34

7.5	Net Annual Revenue Requirement	34

7.6	Adjustment of Deficit Amount	34

8	Prayers	35

8.1	IPL has the following prayers before JSERC	35

Annexures	36

# List of Tables

Table 1 : Project Details	9

Table 2 : Computation of Return on Equity	13

Table 3: Computation of Interest on Loan & Finance Charges	13

Table 4: Computation of Interest on Normative Loan	14

Table 5: Details of Assets Capitalized	15

Table 6: Computation of Depreciation	16

Table 7: Computation of Interest on Working Capital	17

Table 8: Computation of O&M Expenses	17

Table 9: Computation of Total Fixed Cost	18

Table 10: Gross Station Heat Rate	20

Table 11: Gross Station Heat Rate	20

Table 12: NAPAF approved by the Commission	21

Table 13: Normative Annual Plant Availability Factor	22

Table 14: Auxiliary Energy Consumption	23

Table 15 : Secondary Fuel Oil Consumption	23

Table 16: Approved & Actual Fuel Details	24

Table 17: Computation of Primary Fuel Cost	24

Table 18: Computation of Secondary Fuel Oil Cost	25

Table 19: Computation of Energy Charge	25

Table 20: Actual tax paid	26

Table 21: Details of allowance of Ash Transportation Expenses by CERC	27

Table 22: Actual Ash Handling Expenses	31

Table 23: Security Expenses	32

Table 24: Other expenses	32

Table 25 : Computation of Fixed cost	33

Table 26: Computation of Variable Charge	33

Table 27 : Other expenses	34

Table 28 : Net Annual Revenue Requirement	34

Table 29 : Adjustment of Deficit amount	34

# List of Abbreviations

| Abbreviation | Definition |
| --- | --- |
| A&G | Administrative and General |
| ARR | Aggregate Revenue Requirement |
| COD | Commercial Operation Date |
| CFBC | Circulating Fluidized Bed Combustion |
| FY | Financial Year |
| GCV | Gross Calorific Value |
| GFA | Gross Fixed Assets |
| GoI | Government of India |
| JSERC | Jharkhand State Electricity Regulatory Commission |
| kCal | Kilocalorie |
| Kg | Kilogram |
| kWh | Kilowatt-hour |
| MAT | Minimum Alternative Tax |
| Ml | Milliliter |
| MT | Million Tonnes |
| MUs | Million Units |
| MW | Megawatt |
| NAPAF | Normative Annual Plant Availability Factor |
| O&M | Operations and Maintenance |
| PLF | Plant Load Factor |
| PPA | Power Purchase Agreement |
| R&M | Repair and Maintenance |
| RoE | Return on Equity |
| Rs. | Rupees |
| SBI | State Bank of India |
| SERC | State Electricity Regulatory Commission |
| SLM | Straight Line Method |

# Background

## Profile of Inland Power limited

### Inland Power Limited (“IPL”) is promoted by the Inland Group which was founded in 1970s. IPL had been originally incorporated on 22nd June, 1993 as a Private Limited Company and was subsequently converted to a Public Limited Company on 3rd April, 2008 as Inland Power Ltd.

### IPL has set up one unit of the project of 2x63 MW thermal power plant based on CFBC technology at Inland Nagar near Gola, District Ramgarh, Jharkhand as an Independent Power Plant (IPP). Stage one has been commissioned and its operational from 21st May 2014.

### The key details of the power plant are provided in table below:

Table 1 : Project Details

| SN | Parameter | Details |
| --- | --- | --- |
| 1 | Name of power station | Inland Coal fired CFBC Thermal Power Plant |
| 2 | Project Capacity | 1 x 63 MW |
| 3 | Location | Inland Nagar near Gola, District Ramgarh, Jharkhand |
| 4 | Nearest Railway site | Gola, 5 km from the project site |
| 5 | Nearby highway | Ramgarh Bypass, NH – 23 at a distance of 1 km. |
| 6 | Financial closure of the Project | 12th Aug 2011 |
| 7 | Fuel | Coal, Coal rejects & Dolochar |
| 8 | Technology | Circulating Fluidized Bed Combustion (CFBC) Technology |
| 9 | Fuel supplier | CCL, Tata Steel & Various sources |
| 10 | Substation Connectivity | 132 kV level, JBVNL sub-station at Sikidiri |
| 11 | Water | Damodar Valley Corporation for drawing water of total quantity of 2.71 MGD |
| 12 | Commissioning Date | 21st May 2014 |
| 13 | JSERC Tariff order for provisional approval of tariff | 27th May 2014 |
| 14 | Capital cost approval, True-up FY 2014-15 & MYT order for FY 2016-21 | 16th May 2017 |
| 15 | Order for True-up of FY 2015-16 | 19th March 2018 |
| 16 | Order for True-up of FY 2016-17 and FY 2017-18 | 01st October 2019 |
| 17 | Order for True up pf FY 2018-19 | 22nd September 2020 |
| 18 | Order for True up of FY 2019-20 and APR for FY 2020-21 | 4th November 2022 |
| 19 | Order towards 100% recovery of fixed charges of FY 2014-15 | 28th February 2023 |
| 20 | Order on True-up for FY 2020-21 | 22nd May 2023 |
| 21 | Order on Business Plan and Multi Year Tariff for Control Period FY 2021-22 to FY 2025-26 | 16th November 2023 |
| 22 | Order on True-up for FY 2021-22 | 26th February 2024 |
| 23 | Order on True-up for FY 2022-23 & APR for FY 2023-24 | 23rd July 2024 |
| 24 | Order on True-up for FY 2023-24 & APR for FY 2024-25 | 27th May 2025 |

### A Power Purchase Agreement (PPA) has been signed between IPL and JSEB (now JBVNL) on 23-Feb-2012 and further a supplementary to the PPA was signed on 22nd April 2013 whereby IPL will sell the entire capacity of 63 MW from 1st unit to JBVNL. Out of 63 MW JBVNL will purchase 12% of total power generation at variable cost only and the balance 88% at the tariff determined by JSERC.

### However, the Hon’ble Commission vide its order dated 28-02-2023 and 04-11-2022 has also approved 100% recovery of fixed charges for FY 2014-15, FY 2016-17, FY 2017-18, FY 2018-19 and FY 2019-20. The same have been approved vide orders dated 22.05.2023 for FY 2020-21, 26.02.2024 for FY 2021-22, 23.07.2024 for FY 2022-23, and 27.05.2025 for FY 2023-24.

### The petitioner humbly requests the Hon’ble JSERC to also consider full 100% basis for the fixed cost recovery in the computations of True Up for FY 2024-25.

## About the Petition

### The Hon’ble Commission has provided vide notification dated 12th November 2020, the JSERC (Terms & Conditions for Determination of Generation Tariff) Regulations, 2020 or “JSERC Regulations, 2020” & on 3rd November 2023, the JSERC (Terms & Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023.

### Pursuant to the enactment of the Electricity Act, 2003 (EA 2003), as per Section 64 (1) of Act, a generating company intending to sell power to a Distribution Licensee is required to file an application for determination of tariff to the Appropriate Commission. As IPL is selling 100% power to the JBVNL, the Appropriate Commission in this case is the Hon’ble Jharkhand State Electricity Regulatory Commission (“JSERC” or “Commission”).

## Annual Accounts

### The Audited Annual Accounts are attached as Annexure No. 1 as required under Regulation 7.1 of the JSERC Tariff Regulations, 2020.

# True-up of 2024-25

## Regulatory provisions

### The Hon’ble Commission in its Regulation has stated the following on True-up of various costs under the Regulations under Clause A7 which have been the basis and principles adopted by IPL for the submission of this True-up petition.

“A 7. Truing-up

7.1 The Generating Company shall submit the Petition for truing up for each year of the Control Period on the basis of annul Audited Accounts as per the timelines stipulated in Section A 39.

7.2 Where after the truing up, the revenue recovered exceeds the trued up value approved by the Commission under these Regulations, the Generating Company shall refund to the Beneficiaries, the surplus amount so recovered as specified in Clause 7.4 of these Regulations.

7.3 Where after the truing up, the revenue recovered is less than the trued up value approved by the Commission under these Regulations, the Generating Company shall recover from the Beneficiaries, the gap amount in accordance with Clause7.4 of these Regulations.

7.4 The amount under-recovered or over-recovered, along with simple interest at the rate equal to Bank Rate as on April 01 of the respective year plus 350 basis points, shall be recovered or refunded by the Generating Company in six equal monthly instalments starting within three months from the date of the Tariff Order issued by the Commission:

Provided that no carrying cost on the duration of delay shall be allowed on unrecovered gap if the Generating Company fails to submit the Petition as per timelines stipulated in Section A 39:

Provided further that any adverse financial impact on account of variation in uncontrollable items due to lapse on part of the Generating Company or its suppliers/contractors shall not be allowed in truing up.”

### The Hon’ble Commission in its Regulations has stated that where after the truing up, the revenue recovered exceeds the trued-up value approved by the Commission under these Regulations, IPL shall refund the surplus amount from the Beneficiaries in line with Clause 7.4 of these Regulations. In case the revenue recovered is less than the trued-up value, IPL shall recover the gap amount from the Beneficiaries along with simple interest at the rate equal to Bank Rate as on April 01 of the respective year plus 350 basis points.

# Fixed Cost of the Plant

## Annual fixed cost for FY 2024-25

### IPL had submitted its Multi Year Tariff Petition for FY 2021-22 to FY 2025-26 along with projected fixed and variable cost of the power plant to the Hon'ble Commission on 25th March, 2021, the order for which was issued on 16th November, 2023. Further IPL submitted the APR Petition for the year FY 2024-25, the order for which was issued on 27th May 2025.

### For the computation of the fixed components, the Petitioner has considered Regulation 15.3 of the JSERC Tarff Regulations 2020. The following components of fixed cost have been considered for True-up of the tariff for the power plant and have been set out in the following sections of this petition:

    - Return on Equity

    - Interest on Loan

    - Depreciation

    - Interest on Working Capital

    - Operation and Maintenance Expenses

## Return on Equity (ROE)

### The Hon’ble Commission in its JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023 has considered the post-tax return on equity at 15.00% of equity capital cost for thermal generating stations.

### The Petitioner has determined the Return on Equity (RoE) at a rate of 15.00% in accordance with Clause 15.9 to Clause 15.10 of the JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023, on the Petitioner’s previously claimed closing equity base of Rs. 100.53.

### The Petitioner submits that it has purchased various assets for Rs. 0.17 Cr. which were necessary for efficient and successful operation of the generating station, the details of which are provided below,

| Particulars | UoM | Value |
| --- | --- | --- |
| Vehicle: HYVA | Rs. | 6,00,000 |
| Computers: Laptop | Rs. | 1,09,386 |
| Computers: Desktop | Rs. | 7,98,660 |
| Computers: Laptop | Rs. | 1,09,740 |
| Computers: Laptop | Rs. | 36,580 |
| Total | Rs. Cr. | 0.17 |

### Further, IPL has decapitalized an amount of Rs. 2.70 Cr. corresponding to the insurance claim received for the Exciter. The insurance claim value has been adjusted in the books of accounts, resulting in a decapitalization of Rs. 2.70 Cr. for the Exciter, resulting in a Net Capitalization of Rs. (2.53) Cr.

### The purchases of assets were done from internal funds, as such a normative equity ratio of 30% has been considered in line with Regulations 15.6 to 15.8 of the JSERC Tariff Regulations 2020.

### Further, it is submitted that the actual tax paid is being claimed separately, as such the applicable MAT Rate has not been grossed up with the regulated rate of equity to determine the net rate of equity.

Table 2 : Computation of Return on Equity

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Opening Equity | Rs Cr. | 91.54 | 100.53 |
| Addition during the Year | Rs Cr. | - | (0.76) |
| Closing Equity | Rs Cr. | 91.54 | 99.77 |
| Average Equity | Rs Cr. | 91.54 | 100.15 |
| Rate of RoE | % | 15.00% | 15.00% |
| Applicable MAT Rate | % | 17.47% | - |
| Net Rate of ROE | % | 18.18% | - |
| Return on Equity | Rs Cr. | 16.64 | 15.02 |

## Interest on Loan

### As per Regulation 15.3 of JSERC Tariff Regulations 2020, the Commission will undertake true-up of various parameters including loan capital.

### As of FY 2023–24, all Term Loans availed by IPL have been fully repaid and closed. During the FY 2024-25, IPL availed short-term loans from Body Corporate sources, a substantial portion of which was repaid within the same financial year. In addition, short-term working capital loans were also utilized. However, since interest on working capital is claimed separately in accordance with the normative provisions under Regulations 15.23 to 15.27 of the JSERC Tariff Regulations, 2020, such loans have not been considered for computation of interest on loan.

### In view of the above, the Petitioner has computed the Interest on Loan in line with the actual interest amount paid during FY 2024-25. The Petitioner has considered the actual loan portfolio and the repayment shown is considered equal to the actual repayment by the Petitioner in FY 2024-25.

Table 3: Computation of Interest on Loan & Finance Charges

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Opening Debt Balance | Rs Cr. | 85.15 | 19.77 |
| Additions | Rs Cr. | - | 21.80 |
| Repayment | Rs Cr. | 14.66 | 20.15 |
| Closing Debt Balance | Rs Cr. | 70.50 | 21.42 |
| Average | Rs Cr. | 77.83 | 20.59 |
| Rate of interest | Rs Cr. | 10.65% | 1.12% |
| Interest on Loan | Rs Cr. | 8.29 | 0.23 |

## Interest on Normative Loan

### As per Regulation 15.7 (2) of JSERC Tariff Regulations 2020, in case the actual equity employed is in excess of 30%, the amount of equity for the purpose of tariff determination shall be limited to 30%, and the balance amount shall be considered as normative loan. Further Regulation 15.13 states that the loans arrived at in the manner indicated in Clause 15.6 and Clause 15.7 of the Regulations, shall be considered as gross normative loan for calculation of Interest on Loan.

### As of FY 2023–24, all Term Loans availed by IPL have been fully repaid and closed. The first proviso for Regulation 15.18 of JSERC Tariff Regulations 2020 states as quoted below,

### “Provided that if there is no actual loan for a particular year but normative loan is still outstanding, then the rate of interest shall be considered on normative basis and shall be equal to Bank Rate as on April 01of the respective year of the Control Period plus 200 basis points;”

### In view of the above, the Petitioner has computed the Interest on Normative Loan in line with the applicable Regulations of the JSERC Tariff Regulations 2020. The Interest rate has been considered as per SBI 1-year MCLR as on 1st April 2024 + 200 basis points.

### The opening balance is considered equal to the Commission’s approved closing balance as per order dtd. 27.05.2025 for True-up for FY 2023-24. Further, the repayment shown is deemed to be equal to the depreciation for the financial year in accordance with Regulation 15.15 of the JSERC Tariff Regulations 2020.

Table 4: Computation of Interest on Normative Loan

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Opening Normative Debt Balance | Rs. Cr | - | 85.15 |
| Net Additions | Rs. Cr | - | (1.77) |
| Repayment | Rs. Cr | - | 17.48 |
| Closing Normative Debt Balance | Rs. Cr | - | 65.89 |
| Average | Rs. Cr | - | 75.52 |
| Rate of Interest | % | - | 10.65% |
| Interest on Normative Loan | Rs. Cr | - | 8.04 |

### The Petitioner prays to the Hon’ble Commission to allow the Interest on Normative Loan in-line with the applicable JSERC Tariff Regulations 2020.

## Depreciation

### The Hon’ble Commission in its Regulations, 2020 has considered following principles for determination of depreciation,

“Depreciation

15.28 Depreciation shall be calculated every year, on the amount of Capital Cost of the assets as admitted by the Commission. In case tariff of multiple Units of a generating station is determined, weighted average life for the generating station shall be applied: Provided that depreciation shall not be allowed on assets funded by Consumer Contribution and Capital Subsidies/Grants. Provision for replacement of such assets shall be made in the Capital investment Plan.

………………

15.30 Depreciation shall be calculated annually, based on the straight-line method, at the rates specified at Appendix-!. The base value for the purpose of depreciation shall be original cost of the asset: Provided that the Generating Company shall ensure that once the individual asset is depreciated to the extent of seventy (70) percent of the Book Value of that asset, remaining depreciable value as on March 31 of the year closing shall be spread over the balance useful life of the asset; Provided that in case the tenure of PPA executed between the Generating plant and Beneficiaries is more than that of the Useful life of the plant, the Commission after prudence check may consider the PPA life for spreading the remaining depreciable value as on March 31 of the year instead of useful life;

15.32 The residual value of assets shall be considered as 10%and depreciation shall be allowed to a maximum of 90% of the original cost of the asset. Land is not a depreciable asset and its cost shall be excluded while computing 90% of the original cost of the asset”

### The asset-class wise rates of depreciation have been considered as per the rates provided in the Appendix-I of the JSERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2020. The formats attached with the Petition provide the details of calculation of depreciation based on the applicable rates and is attached as Annexure No. 2.

### Further, the additional capitalization was done as per Regulation 14.2 (d) of the JSERC regulations 2020, the same is reproduced below for immediate reference:

“14.4The capital expenditure, in respect of existing generating station incurred or projected to be incurred on the following counts beyond the original scope, may be admitted by the Commission, subject to prudence check:

………………

(d)Any additional works/services, which have become necessary for efficient and successful operation of the generating station, but not included in the original project cost;”

### The Petitioner submits that it has purchased various assets for Rs. 0.17 Cr. which were necessary for efficient and successful operation of the generating station. IPL has also incurred decapitalization of Rs. 2.70 Cr. resulting in a Net Capitalization of Rs. (2.53) Cr. The purchases of assets were done from internal funds, as such a normative equity ratio of 30% has been considered in line with Regulations 15.6 to 15.8 of the JSERC Tariff Regulations 2020.

Table 5: Details of Assets Capitalized

| Particulars | FY 2024-25 |  |  |
| --- | --- | --- | --- |
|  | Assets Capitalized | Assets De-capitalized | Net Capitalization |
| Plant & Machinery | - | 2.70 | (2.70) |
| Vehicles | 0.06 | - | 0.06 |
| Computer | 0.11 | - | 0.11 |
| Total | 0.17 | 2.70 | (2.53) |

### The Opening Gross Block of Assets and the Depreciation for FY 2024-25 has been considered based on the Closing Block of Assets and Depreciation for FY 2023-24 as submitted as part of IPL’s True Up Petition for FY 2023-24. The depreciation computed is provided in the table below.

Table 6: Computation of Depreciation

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Opening Gross block | Rs. Cr. | 360.69 | 342.35 |
| Additional Capitalization during the Year | Rs. Cr. | - | 0.17 |
| Less: De-capitalization during the Year | Rs. Cr. | - | (2.70) |
| Closing Gross block | Rs. Cr. | 360.69 | 339.82 |
| Deprecation due to Net Additional Capitalization | Rs. Cr. | - | 0.02 |
| Total Depreciation | Rs. Cr. | 14.66 | 17.48 |

### The Petitioner prays to the Hon’ble Commission to allow the depreciation and the additional capitalization in-line with the applicable JSERC Tariff Regulations 2020.

## Interest on Working Capital

### As per Regulation 15.23 to 15.27 of Tariff Regulations, 2020, the Commission will undertake true-up of various parameters including working capital. The relevant portion of the Regulation is being reproduced below:

“15.26 The rate of Interest on Working Capital shall be on normative basis and shall be equal to Bank Rate plus 350 basis points as on September 30 of the financial year in which the MYT Petition is file for as on April 01, of the year during the Control Period from FY 2021-22 to FY 2025-26 in which the generating station or a Unit thereof, is declared under commercial operation, whichever is later:

Provided that the rate of interest on working capital shall be trued up on the basis of Bank Rate plus 350 basis points as applicable on April 01, of the respective financial year at the time of true up.

15.27 The interest on working capital shall be payable on normative basis notwithstanding that the Generating Company has not taken working capital loan from any outside agency”

### In view of the above, the Petitioner has claimed interest on working capital as shown in the table below. The Interest rate has been considered as per SBI 1-year MCLR as on 1st April 2024+ 350 basis points.

Table 7: Computation of Interest on Working Capital

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Coal Cost for 50 Days | Rs. Cr | 20.56 | 18.50 |
| Cost of Secondary Fuel Oil for 2 Months | Rs. Cr | 0.70 | 0.68 |
| O&M Expenses for 1 month | Rs. Cr | 2.64 | 3.33 |
| Maintenance Spares | Rs. Cr | 5.90 | 7.99 |
| Receivables for 45 Days | Rs. Cr | 28.76 | 27.98 |
| Total Working Capital | Rs. Cr | 58.56 | 58.49 |
| Rate of Interest | % | 12.05% | 12.15% |
| Interest on Working Capital | Rs. Cr | 7.10 | 7.11 |

## Operation and Maintenance Expenses (O&M Expenses)

### As per Regulation 15.35. 15.41 and 15.42 of JSERC Generation Tariff Regulations 2020, O&M expense would be applicable for generating companies.

### IPL humbly prays the Hon’ble Commission to approve the Actual O&M Expense incurred by the Petitioner during FY 2024-25, which is reflected in the Audited Books of Accounts, and is provided in the table below:

Table 8: Computation of O&M Expenses

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| O&M Expenses | Rs. Cr. | 29.52 | 38.11 |

## Water charges

### IPL submits that as per Regulation 15.46 of the Tariff Regulations, 2020, Water charges are to be allowed separately for thermal power plants. The same is being reproduced below:

### “Other Charges

### 15.46 The Water Charges for thermal generating stations shall be allowed separately after prudence check: Provided that Water Charges shall be allowed based on water consumption, depending upon type of plant, type of cooling water system, subject to prudence check. The details regarding the same shall be furnished along with the Petition.”

### The Water charges paid by IPL to the concerned authorities for use of water in the power plant are Rs 1.85 Cr. In FY 2024-25. The details for the water charges are attached as Annexure to the petiton & the same is reflected in the Audited Accounts. The Petitioner prays to approve the same in line with the JSERC Tariff Regulations 2020.

## Total Fixed Cost

### The recovery of capacity charges is to be done as per Clause A 17 of the JSERC Tariff Regulations 2020.

### The Petitioner has considered availability for 12 months of FY 2024-25, and the PAF achieved was 84.12%. The SLDC plant availability certificate is attached as annexure to the petition. The Petitioner has claimed the fixed cost considering the actual Plant Availability achieved during FY 2024-25.

### Based on the above discussion, the Hon’ble Commission is requested to approve the total fixed charges as set out in the table below:

Table 9: Computation of Total Fixed Cost

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Depreciation | Rs Cr. | 14.66 | 17.48 |
| Interest on Loan & Finance Charges | Rs Cr. | 8.29 | 0.23 |
| Interest on Normative Loan | Rs Cr. | - | 8.04 |
| Return on Equity | Rs Cr. | 16.64 | 15.02 |
| Interest on Working Capital | Rs Cr. | 7.10 | 7.11 |
| O&M Expenses | Rs Cr. | 29.52 | 38.11 |
| Water charges | Rs Cr. | 1.95 | 1.85 |
| Fixed Cost | Rs Cr. | 78.16 | 87.85 |
| Fixed Cost with PAF adjustment | Rs Cr. | 80.41 | 87.85 |

# Performance targets

## Regulatory provisions

### The Hon’ble Commission had set performance targets for controllable parameters under regulation 6.11, 6.12 & 6.13 and JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023.

### The Month wise data of all operational parameters for FY 2024-25 is attached as annexure to the petition. The actual performance on these controllable parameters is discussed below:

## Gross Station Heat Rate (SHR)

### The Hon’ble Commission in the JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023 has considered a Gross Station Heat Rate of 2902.00 kCal/kWh for Inland Power Limited. However, though SHR is a controllable parameter as per regulation 6.11 of the JSERC Tariff Regulations 2020, actual values of SHR as achieved by the Petitioner have been considered for the computations under this petition.

### The petitioner also submits that as specified in JSERC regulations 2010, the norms of operation for SHR of new generating stations for Coal-based and lignite-fired Thermal Generating Stations = 1.065 X Design Heat Rate (kCal/kWh) where, the Design Heat Rate of a unit means the unit heat rate guaranteed by the supplier at conditions of 100% MCR, zero percent make up, design coal and design cooling water temperature/back pressure.

### The TG cycle heat rate for the proposed boiler was 2166 Kcal/kwh. With a boiler efficiency of 79.5% and with a margin of 6.5% as per regulation, the Petitioner had requested the Honourable Commission to approve a Gross Station heat rate of 2902 Kcal/kwh.

### The Commission vide letter no JSERC/legal/07 of 2013/222 dated August 26, 2013 directed the Petitioner to submit report/ study conducted by independent technical expert to verify the boiler efficiency of 79.5%. The Petitioner vide letter dated November 12, 2013 submitted the required information. Thus, the Commission after scrutinizing the additional information submitted approves the gross station heat rate in accordance with the formula specified in Regulation 8.6 (b) (i) of the Generation Tariff Regulations 2010, the projected base heat rate and boiler efficiency as per the independent technical evaluation report, for the Control Period at 2,902 Kcal / kWh.

### This Hon’ble Commission in its MYT Order for FY2021-22 to FY2025-26 has approved SHR of 2902.00 kCal/kWh for FY 2024-25 based on past performance of the power plant and also considering difficult operating conditions and uncontrollable change in fuel mix.

### The petitioner submits that the historical SHR of the power plant has varied due to the change in fuel mix, use of fuel with high ash etc. which are due to uncontrollable factors.

Table 10: Gross Station Heat Rate

| Particulars | Unit | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY23 | FY24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gross Station Heat Rate | kCal/kWh | 2931.25 | 2902.00 | 2902.00 | 2991.00 | 3113.33 | 3069 | 2933 | 2,928.42 | 2,909.03 |

### The Petitioner therefore proposes to consider a normative SHR of 2931 kCal/kWh based on past performance of the power plant and also considering difficult operating conditions and uncontrollable change in fuel mix. The table below shows the SHR as considered by IPL for the current Control Period.

### The Petitioner respectfully prays to the Hon’ble Commission to approve the actual Station Heat Rate (SHR) as submitted in this petition, as presented in the table below, as the Petitioner has been able to maintain the total fuel costs (both primary & secondary) within the approved limits despite the actual SHR being higher than the approved value.

Table 11: Gross Station Heat Rate

| Particulars | Unit | FY 2024-25 |  |  |
| --- | --- | --- | --- | --- |
|  |  | MYT Approved | APR Approved | True-up Petition |
| Gross Station Heat Rate | kCal/kWh | 2,902.00 | 2,902.00 | 2,916.43 |

## Normative Annual Plant Availability Factor (NAPAF)

### As per the JSERC Generation Tariff Regulations 2020 and its subsequent amendments, the Normative PAF approved by the Commission is 82.50% for the 2021-22 to 2025-26 control period.

### The relaxation of PAF for CFBC boilers was also provided in CERC Tariff Regulations 2009-14. Relevant portion of the regulation is reproduced below:

“26.(i). Normative Annual Plant Availability Factor (NAPAF)….

(f)  Lignite-fired Generating Stations using Circulatory Fluidized Bed Combustion (CFBC) Technology –

1.  First three years from COD – 75%

2.  From next year after completion of 3 years of COD – 80%”

### The reasons for this relaxation are further elaborated in the Statement of Objects and Reasons for CERC Tariff Regulations (2009-14).

“28.6 ……….With regard to lignite fired stations using CFBC technology are concerned, we found that the availability in initial years was of the order of 76% in case of surat  lignite fired station and gradually picked up thereafter. In view of this we are providing for a norm of 75% during first three years of COD and thereafter, retaining a norm of 80%. In respect of the new lignite power stations with PF Boilers, availability norms have been combined with the coal power fire stations at 85%”

### It is further submitted that other State ERCs also, provided relaxation in PLF for CFBC boilers. For instance, in Rajasthan, as per RERC Tariff Regulations, 2009 PLF for CFBC Plants is gradually increased to 80% during a period of five years -

“46.1. Target Availability for recovery of full Capacity (Fixed) charges for thermal power stations … (a)

…

(iii)  Lignite fired thermal power stations   using CFBC technology:

For the first year of operation    70%

For  second year of operation    72.5%

For third year of operation      75.0%

For fourth year of operation     77.5%

Fifth year and onwards   80.0%”

It is pertinent to note that APTEL in its judgement on “Appeal No. 182 of 2010” has clarified that the relaxation in PLF for CFBC will be applicable to both coal based and lignite based Stations as the relaxation is for the technology being used, not the fuel.”

### The Petitioner would like to further submit that the relaxation of PLF for CFBC boilers is provided in CERC Tariff Regulations 2019-24. The extract of the same is reproduced below:

“49. Norms of operation for thermal generating station

…….

Normative Annual Plant Availability Factor (NAPAF)

……

(e) For Lignite fired Generating Stations using Circulatory Fluidized Bed Combustion (CFBC) Technology and Generating stations based on coal rejects:

First Three years from the date of commercial operation – 75%

For next year after completion of three years of the date of commercial operation – 80%

…….”

### This Hon’ble Commission also had set a NAPAF target of 82.5% for FY2016-17 to FY 2020-21 as per its order in Case No. 06 and 11 of 2016 dated 16th May 2017.  Relevant portion of the order is reproduced below:

“……………

8.53. After considering the above, the Commissions finds the submission of the Petitioner appropriate and has considered the same for approving the NAPAF for the current MYT period.

Table 12: NAPAF approved by the Commission

| Item | FY 17 | FY 18 | FY 19 | FY 20 | FY 21 |
| --- | --- | --- | --- | --- | --- |
| Plant availability factor (%) | 82.50 | 82.50 | 82.50 | 82.50 | 82.50 |

………….”

### Thus, after considering the above facts, IPL currently proposes a PAF of 82.50% in line with the Commission’s approved figures as per its order in Case No. 06 and 11 of 2016 dated 16th May 2017, the JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023 dated 31st October, 2023, and MYT Order in Case (Tariff) No.: 01 of 2022 dated 16th November 2023 and requests the Hon’ble Commission to approve the same

Table 13: Annual Plant Availability Factor

| Particulars | Unit | FY 2024-25 |  |  |
| --- | --- | --- | --- | --- |
|  |  | MYT Approved | APR Approved | True-up Petition* |
| Annual Plant Availability Factor | % | 82.50% | 84.88% | 84.12% |

*Note: Actual Plant Availability achieved in FY 2024-25

## Auxiliary Energy Consumption

### IPL submits that during the commissioning period of the power plant, as per the prevailing CERC Regulations, for lignite fired stations using CFBC technology, the auxiliary energy consumption norms was 1.5% more than the auxiliary energy consumption norms of coal-based generating stations. Relevant portion of the Regulation is reproduced below: (CERC Tariff Regulations 2009, sub-clause 26)

“for Coal based units up to a capacity of 200 MW with Induced Draft Cooling tower is allowed a normative auxiliary consumption of 8.5% + 0.5%.

…….

Provided that for the lignite fired stations using CFBC technology, the auxiliary energy consumption norms shall be 1.5 percentage point more than the auxiliary energy consumption norms of coal-based generating stations at (iv) (a) above.”

### Hence the CERC norm for auxiliary consumption of lignite based CFBC plants, up to 200 MW with induced draft cooling tower was 10.5%.

### IPL submits that as per the ‘Recommendations on Operation Norms for Thermal Power Stations for Tariff Period beginning 1st April 2009’, of CEA higher auxiliary consumption the generating station of IPL should also be allowed in regard to the CFBC technology. The relevant portion of the report is being reproduced below:

“14.6 The CFBC boilers involve higher auxiliary consumption due to higher pressure drops and consequently higher fan power as compared to the pulverized fuel fired units. Also, these units involve additional power consumption for limestone handling, crushing and firing for control of SOX emissions.  However, CFBC units do not require pulverizers as the fuel is fed in crushed form and thus there is a corresponding saving in the power consumption in pulverizers as compared to the pulverized fuel technology.

14.7   NLC have asked for an additional AEC of 1% on account of CFBC boiler technology and additional 0.5% on account of uncertainty etc. that may be faced as the CFBC units are being implemented by them for the first time and past operation data is not available. Thus they have asked for an AEC of 11% for TPS Expn II and 12% for Barsingsar TPS on account of additional AEC of 0.67% for cooling water pumping from a distant source (60 kms)

An assessment of incremental auxiliary consumption for CFBC units has been made and it is found that the CFBC units entail higher auxiliary energy consumption of 0.7% to 1%.  However, in the present case of NLC stations, the limestone is being procured in the powder form and consequently the power consumption for limestone crushing is eliminated and thus the incremental consumption should be on the lower side. Thus, an additional auxiliary energy consumption of 1.0% may be allowed to NLC stations with CFBC boilers.”

### IPL also submits that CFBC boilers involve higher auxiliary consumption due to higher pressure drops & consequently higher fan power as compared to the pulverized fuel fired units.

### Other SERCs have also proposed higher auxiliary consumption for CFBC boilers presented below:

- In case of Raj West Power Limited, RERC has allowed an Auxiliary Consumption of 11.5%

- In case of Gujarat Industries Power Company Ltd, GERC has allowed an Auxiliary Consumption of 12.5% for 3 years and 11.5% from the 4th year

- In case of Bajaj Energy Pvt Ltd, UPERC has allowed an Auxiliary Consumption of 11.5% during stabilization and 11% - post stabilization period.

### The Petitioner humbly submits the actual achieved Auxiliary Consumption as below:

Table 14: Auxiliary Energy Consumption

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition* |
| Auxiliary energy consumption | % | 10.50% | 12.26% |

### In view of the above, the Petitioner’s prays to the Hon’ble commission to approve the actual auxiliary consumption for FY 2024-25.

## Secondary fuel oil Consumption

### The Hon’ble Commission had set secondary fuel oil consumption target of 1 ml/kWh in its MYT Order in Case (Tariff) No.: 01 of 2022 dated 16th November 2023. As secondary fuel oil consumption is a controllable parameter as per the Regulation 6.14 of JSERC Tariff Regulations 2020, the normative value of has been considered for the present True up Petition. The same is shown in the table below.

Table 15 : Secondary Fuel Oil Consumption

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Secondary fuel oil consumption | ml/ kWh | 1.00 | 1.00 |

# Energy Charges

## Fuel Price and Calorific Value

### IPL is procuring fuel from various sources available like:

- E –Auction CIL/ CCL coal

- Coal from the forward auctions

- FSA with CCL under SHAKTI Scheme

- Rejects from Tata Steel

### Based on the availability of coal input the blending ratio of Coal and Coal rejects has changed significantly from the approved figures.

Table 16: Approved & Actual Fuel Details

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| GCV of Coal | Kcal/Kg | 3,309.70 | 3,550.23 |
| GCV of Rejects | Kcal/Kg | 2,228.48 | 2,242.44 |
| Weighted average GCV of fuel | Kcal/Kg | 2,583.61 | 2,808.67 |
| Weighted average GCV of fuel less Stacking Loss | Kcal/Kg | 2,498.61 | 2,723.67 |
| Ratio of Coal in Fuel Mix | % | 32.85% | 43.30% |
| Ratio of Rejects in Fuel Mix | % | 67.15% | 56.70% |
| Price of Coal | Rs./MT | 3,680.18 | 3,473.69 |
| Price of Rejects | Rs./MT | 2,407.24 | 2,315.98 |
| Weighted average Price of Primary Fuel | Rs./MT | 2,825.35 | 2,817.23 |
| Transit Loss considered | % | 0.80% | 0.80% |
| Weighted average Price of Primary Fuel after Transit Loss | Rs/ MT | 2,848.14 | 2,839.95 |

### The Petitioner submits that as can be seen from the table above, the primary fuel-mix, GCV of the primary fuel-mix and its price have significantly varied in actual than approved by the Commission.

### The auditor certificate with following details for primary fuel bought are attached as Annexure to the Petiton: -

  - Quantity as received,

  - Quantity as fired in the boiler

  - Gross Calorific Value (GCV)

  - Price

## Primary fuel cost

### As per the actual fuel cost discussed in the above paragraphs, the primary fuel costs has been computed for the generating stations as provided in the table below.

Table 17: Computation of Primary Fuel Cost

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Capacity | MW | 63.00 | 63.00 |
| Plant Load Factor | % | 82.94 | 80.56 |
| Gross Generation | MU | 457.74 | 445.59 |
| Auxiliary Consumption | MU | 48.06 | 54.64 |
| Auxiliary Consumption | % | 10.50 | 12.26 |
| Net Generation | MU | 409.68 | 390.96 |
| Weighted Average GCV of primary fuel less Staking Loss | kCal/Kg. | 2,498.61 | 2,723.67 |
| Weighted Average Rate of primary fuel after Transit Loss | Rs/ MT | 2,848.14 | 2,839.95 |
| Primary Fuel Cost | Rs. Cr. | 150.90 | 135.04 |

### The Petitioner submits that all efforts have been made to maintain the fuel costs within the levels approved by the Hon’ble Commission, and the same has been successfully achieved during the year.

### The Petitioner requests the Hon’ble Commission to approve the primary fuel cost as submitted above based on the actual numbers.

## Secondary fuel oil cost

### As per Regulation 15.4 of the JSERC (Terms and Conditions for Determination of Generation Tariff) Regulations, 2020 the cost of secondary fuel oil is to be considered as part of Energy charges. The secondary fuel oil cost has been computed considering the normative secondary fuel oil consumption of 1.00 ml/kWh. The computation is as provided in the table below:

Table 18: Computation of Secondary Fuel Oil Cost

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Gross Generation | MU | 457.74 | 445.59 |
| Secondary Fuel Oil Consumption | ml/kWh | 1.00 | 1.00 |
| GCV of Oil | kCal/litre | 10,000.00 | 10,000.00 |
| Oil Consumption | kL | 457.74 | 445.59 |
| Price of Oil | Rs./ kL | 92,118.64 | 92,117.11 |
| Cost of secondary fuel oil | Rs. Cr. | 4.22 | 4.10 |

## Computation of Energy Charge

### The Petitioner requests the Hon’ble Commission to approve the total Energy charges for the present petition as submitted below based on the actual numbers.

Table 19: Computation of Energy Charge

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Primary Fuel Cost | Rs. Cr | 150.90 | 135.04 |
| Secondary Fuel Cost | Rs. Cr | 4.22 | 4.10 |
| Total Energy charge | Rs. Cr | 155.11 | 139.14 |
| Net Generation | MU | 409.68 | 390.96 |
| Energy Charge Rate | Rs./ kWh | 3.79 | 3.56 |

# Other Expenses

## Application Fee and Publication Expenses

### As per Regulation 28.1 of the Tariff Regulations, 2020 the expenses incurred as application fees and publication expenses for approval of tariff, may be allowed to be recovered by IPL directly from JBVNL. The regulation is reproduced below for ready reference.

“Recovery of Application Fee & Publication Expenses and Statutory Charges

28.1 The Generating Company shall be allowed to recover the Statutory Charges imposed by the State and Central Government such as electricity duty, water cess and payment to the pollution control board in addition to Application Filing Fee and Publication Expenses, subject to prudence check by the Commission. The Generating Company is required to furnish the details regarding the same along with the Petition.”

### The Petitioner has incurred Rs. 0.23 Cr. as filling fees for filing of tariff determination petition for the period FY 2024-25. The details are attached as annexure to the petition. The Petitioner prays to allow filing fees as incurred by the Petitioner.

## Actual Tax paid

### The petitioner has not grossed up the RoE with the tax and requests the Hon’ble Commission to allow tax as actually paid by the Petitioner. The details are attached as Annexure to the Petition.

Table 20: Actual tax paid

| Particulars | UoM | True-up Petition |
| --- | --- | --- |
| TDS as per 26AS | Rs. | 31,95,030 |
| TCS as per 26AS | Rs. | 69,30,997 |
| Advance Tax | Rs. | 3,90,00,000 |
| Total | Rs. | 4,91,26,027 |
| Total | Rs. Cr. | 4.91 |

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Actual tax paid | Rs. Cr. | - | 4.91 |

## Ash Handling Expenses

### The petitioner prays that it has incurred Ash Handling Expenses equating to Rs. 165.6109292 Lakhs, as reflected in Line-Item No. 25.4 of Note 25. Other Expenses of the Audited Books of Accounts.

### The Petitioner submits that ash disposal and transportation is the statutory requirement of the power plant. The Petitioner has disposed and transported the Ash from its power station and has produced Fly Ash Bricks in its Brick Plant in accordance with the Government of India, Ministry of Environment, Forest & Climate Change (MOEFCC) notification dated 25.1.2016. The same is quoted below for immediate reference,

“2 (b) (10) The cost of Transportation of ash for road construction projects or for manufacturing of ash based products or use of soil conditioner in agriculture activity within a radius of hundred kilometers from a coal or lignite based thermal power plant shall be borne by such coal or lignite based thermal power plant and the cost of transportation beyond the radius of hundred kilometers and up to three hundred kilometers shall be shared equally between the user and the coal or lignite based thermal power plant.

(11) The coal or lignite based thermal power plants shall promote, adopt and set up (financial and other associated infrastructure) the ash based product manufacturing facilities within their premises or in the vicinity of their premises so as to reduce the transportation of ash.”

### It is prayed that Regulation 36 (1) (6) of the Central Electricity Regulatory Commission (Terms and Conditions of Tariff) Regulations, 2024 notified by the Hon’ble CERC on 01.07.2024 vide Gazette No. 468 provides for allowing Ash Transportation Expenses for thermal generating stations separately after prudence check. The same is quoted below for immediate reference,

“(6) The Water Charges, Security Expenses, Ash Transportation Expenses and Capital Spares for thermal generating stations shall be allowed separately after prudence check:”

### Further, the Hon’ble CERC vide several orders has allowed the Ash Handling Expenses separately for several petitioners as detailed herewith,

Table 21: Details of allowance of Ash Transportation Expenses by CERC

| Sl. No. | Order No. | Details |
| --- | --- | --- |
|  | 202/MP/2022 | “23. Petitioner further emphasized that the Petitioner had provided similar details with respect to fly ash transportation expenses incurred by the Petitioner in its other Stations and based on the same, the Hon’ble Commission was pleased to allow the reimbursement of fly ash transportation expenses to the Petitioner vide its several Orders such as Order dated 01.10.2022 in 287/GT/2020 (Unchahar-III), Order dated 01.10.2022 in 302/GT/2020 (Unchahar-I), Order dated 19.09.2022 in 393/GT/2020 (Mauda-I), Order dated 16.03.2022 in 364/GT/2020 (Unchahar-IV), etc. 24. The Commission vide order dated 05.11.2018 in Petition No 172/MP/2016 in regards to the expenses incurred for the transportation of ash in compliance to the MOEF&CC notification dated 25.01.2016 had already considered under change in law and directed the generators to approach the Commission as per the stipulated directions and procedure. It is evident from the submissions and clarifications of the petitioner that the Petitioner has complied with the methodology and procedure envisaged by Commission vide order dated 05.11.2018 in Petition No 172/MP/2016 for expenses incurred for the transportation of ash in compliance to the MOEF&CC notification dated 25.01.2016. 25 In view of above, we allow the net expenditure of Rs 746.24 lakh towards fly ash transportation for Sipat STPS (i.e. Sipat-I and Sipat-II), to be recovered in 6 (six) equal monthly interest free instalments without any carrying cost . Further, considering the fact that reimbursement of ash transportation expenses is being allowed based on the MOEF&CC notification, these expenses should not be made part of the O&M expenses and the consequent annual fixed charges.” Order Date: 22nd December, 2023 Link: https://www.cercind.gov.in/2023/orders/202.pdf |
|  | 217/MP/2022 | “22. The Petitioner has furnished all the details of the distance to which fly ash has been transported from the generating station, schedule rates applicable for transportation of fly ash, as notified by the Government of Andhra Pradesh along with details, including Auditor certified accounts. The documents furnished by the Petitioner has been examined and accordingly, the reimbursement of Rs. 2453.70 lakh (pro rata based on capacity) as claimed by the Petitioner for the year 2018-19, towards fly ash transportation expenses towards Simhadri Stage-II is allowed. 23. However, it is noticed that the Commission vide order dated 22.2.2023 in Petition No. 292/GT/2020 while allowing the expenditure towards fly ash transportation for Simhadri Stage-I had allowed the reimbursement of Rs. 2540.54 lakh for the year 2018-19. In the said order the adjustment towards revenue from sale of fly ash was not taken into consideration. Accordingly, the revenue of Rs 173.68 lakhs earned by the Petitioner for Stage-I and Stage-II of the Simhadri Super Thermal Power Station is now adjusted in the instant petition in Simhadri Stage-II. Accordingly, we allow the net Expenditure of Rs 2366.85 lakh towards fly ash transportation for Simhadri-II (1000MW), to be recovered in 6 (six) equal monthly instalments. Further, considering the fact that reimbursement of ash transportation expenses is being allowed based on the MOEF&CC notification, these expenses should not be made part of the O&M expenses and the consequent annual fixed charges.” Order Date: 30th August, 2023 Link: https://cercind.gov.in/2023/orders/217-MP-2022.pdf |
|  | 205/MP/2021 | “39. Petitioner has furnished the details of the distance to which fly ash has been transported from the generating station, schedule rates applicable for transportation of fly ash, as notified by the State Governments along with details, including Auditor certified accounts. These documents have been examined and accordingly, the total fly ash transportation expenditure allowed to the Petitioner generating station wise for the period 2019-22 is as per the table in para 38 above totalling to Rs.309704.03 lakh and the same shall be recovered from the beneficiaries of the respective generating stations in 6 (six) equal monthly installments. However, the Petitioner is directed to submit details regarding award of transportation contracts, distance to which fly ash has been transported along with duly reconciled statements of expenditure incurred on ash transportation at the time of filing petitions for truing up of tariff for the 2019-24 tariff period of the generating stations.” Order Date: 28th October, 2022 Link: https://cercind.gov.in/2022/orders/205-MP-2021-F.pdf |
|  | 287/GT/2020 | “80. The matter has been examined. As regards the reimbursement of ash transportation expenses, the Commission in its order dated 5.11.2018 in Petition No.172/MP/2016, while directing compliance of certain conditions by the Petitioner, had granted liberty to the Petitioner to approach the Commission at the time of truingup exercise for the 2014-19 tariff period along with all details/ information, duly certified by auditor. In compliance to the above, the Petitioner has furnished the details of the distance to which fly ash has been transported from the generating station, schedule rates applicable for transportation of fly ash, as notified by the Government of Uttar Pradesh along with details, including Auditor certified accounts. These documents have been examined and on prudence check, the reimbursement of Rs. 1268.61 lakh (pro rata based on capacity) as claimed by the Petitioner for the year 2018-19 towards fly ash transportation expenses is allowed to be recovered in 6 (six) equal monthly installments. Considering the fact that reimbursement of ash transportation expenses is being allowed based on the MOEF&CC notification, these expenses are not made part of the O&M expenses and the consequent annual fixed charges being determined in this order under the 2014 Tariff Regulations.” Order Date: 1st October, 2022 Link: https://cercind.gov.in/2022/orders/287-GT-2020.pdf |
|  | 302/GT/2020 | “83. The matter has been examined. As regards the reimbursement of ash transportation expenses, the Commission in its order dated 5.11.2018 in Petition No.172/MP/2016, while directing compliance of certain conditions by the Petitioner, had granted liberty to the Petitioner to approach the Commission at the time of truingup exercise for the 2014-19 tariff period along with all details/ information, duly certified by auditor. In compliance to the above, the Petitioner has furnished the details of the distance to which fly ash has been transported from the generating station, schedule rates applicable for transportation of fly ash, as notified by the Government of Uttar Pradesh along with details, including Auditor certified accounts. These documents have been examined and on prudence check, the reimbursement of Rs.2537.23 lakh (pro rata based on capacity) as claimed by the Petitioner for the year 2018-19 towards fly ash transportation expenses is allowed to be recovered in 6 (six) equal monthly installments. Considering the fact that reimbursement of ash transportation expenses is being allowed based on the MOEF&CC notification, these expenses are not made part of the O&M expenses and the consequent annual fixed charges being determined in this order under the 2014 Tariff Regulations.” Order Date: 1st October, 2022 Link: https://cercind.gov.in/2022/orders/302-GT-2020.pdf |
|  | 393/GT/2020 | “119. It is noticed that the Petitioner has furnished the auditor certificate and has also submitted the relevant information required in terms of the MoEF&CC notification dated 25.1.2016 (such as the quantum of ash transported, locations, the distance of the end user (in km), the applicable awarded rate in Rs/ton per kilometer, name of the transporters, etc.). In view of this, we allow the said expenditure of Rs 880.99 lakh towards fly ash transportation.” Order Date: 19th September, 2022 Link: https://cercind.gov.in/2022/orders/393-GT-2020.pdf |
|  | 364/GT/2020 | “86. The matter has been examined. As regards the reimbursement of ash transportation expenses, the Commission in its order dated 5.11.2018 in Petition No.172/MP/2016, while directing compliance of certain conditions by the Petitioner, had granted liberty to the Petitioner to approach the Commission at the time of truing-up exercise for the 2014-19 tariff period along with all details/ information, duly certified by auditor. In compliance to the above, the Petitioner has furnished the details of the distance to which fly ash has been transported from the generating station, schedule rates applicable for transportation of fly ash, as notified by the Government of Uttar Pradesh along with details, including Auditor certified accounts. These documents have been examined and on prudence check, the reimbursement of Rs.3020.51 lakh (pro rata based on capacity) as claimed by the Petitioner for the year 2018-19 towards fly ash transportation expenses is allowed to be recovered in 6 (six) equal monthly installments. Considering the fact that reimbursement of ash transportation expenses is being allowed based on the MOEF&CC notification, these expenses are not made part of the O&M expenses and the consequent annual fixed charges being determined in this order under the 2014 Tariff Regulations.” Order Date: 16th March, 2022 Link: https://cercind.gov.in/2022/orders/364-GT-2020.pdf |

### Further, the Hon’ble Appellate Tribunal for Electricity (APTEL) vide order dated 21.10.2022 in Appeal No. 148 of 2019 has recognized the Notification dated 25.01.2016 of MOEF&CC an event of Change in Law (CIL). The relevant portion is quoted below for immediate reference,

“14. The Commission has misdirected itself by recording observations visà-vis the failure of the thermal power plants to fulfill their obligations under the preceding notifications or that the 2016 notification is in the nature more of a penalty. Since the notification of MOEF&CC does not so envisage, it is meaningless to speculate that the thermal power generators could have first sought the transportation costs from the government agencies executing the infrastructure projects wherein fly ash is utilized. When the appellant had approached the State Commission for reliefs in the above nature, the entire impact on the expenditure could not have been accurately presented. That would be an exercise which would necessarily follow once the State Commission had acknowledged that the Notification dated 25.01.2016 constituted an event of CIL. Therefore, it was incorrect on the part of the State Commission to reject the claim outright holding it being immature or that it was founded on “estimated impact”

15. For the foregoing reasons, we find the impugned order to be incorrect, unjust and unfair. It is consequently set aside and vacated. We declare that the Notification dated 25.01.2016 of MOEF&CC is an event of CIL within the meaning of relevant clauses (quoted earlier) of the PPAs binding the appellant and the second respondent herein. We declare that the appellant is entitled to compensation to the extent of additional burden resultantly suffered in expenditure on account of transportation cost under the said notification.”

### Further, the Hon’ble APTEL vide order dated 10.08.2016 in Appeal No. 195 of 2015 has allowed the pass-through of Ash Disposal Expenditure. The relevant portion is quoted below for immediate reference,

“(viii) In light of the Regulations 7.41 (e) read with 2.1 (13) of the State Commission’s Generation Tariff Regulations, 2010, we do not have any doubt in our minds that the Appellant was required to comply with the both the Notifications i.e. Notification issued by the State Pollution Control Board as well as Notification issued by Ministry of Environment and Forest, Government of India since they are statutory in nature and mandated by the statutory authorities and compliance of the same is must for the Appellant which resulted in additional expenditure towards disposal of Ash generated by its plant and the same should have been allowed by the State Commission while approving true up of the Appellant for the FY 2012-13 subject to its prudent check for the expenses incurred as claimed by the Appellant. In light of the above, we decide this issue in favour of the Appellant and remand the matter to the State Commission for the consideration of the same.”

### Further, the Hon’ble JSERC vide several orders has allowed the Ash Handling Expenses separately for other Petitioners as detailed herewith,

| Sl. No. | Order No. | Details |
| --- | --- | --- |
|  | Case (Tariff) No.: 11 of 2023 | “6.82 The Commission approves the ash disposal equal to true-up year value as Rs 2.70 cr and Rs 2.80 cr for unit –II & III respectively for FY 2023-24 subject to trued-up on actual basis.” Order Date: 6th June, 2024 Order Name: Order on True-up for FY 2022-23, Annual Performance Review for FY 2023-24 for Tata Power Company Limited (TPCL) Link: https://jserc.org/pdf/tariff_order/tpcl2024a.pdf |
|  | Case (Tariff) No.: 18 of 2022 | “5.64 On Scrutinizing and analyzing the data, information, material on record the Commission approves Terminal Liabilities, Ash Disposal Expenses, Legal Expenses, and Petition Application Fee & Publication Expenses as per audited accounts.” Order Date: 9th January, 2024 Order Name: Order on True-up for FY 2021-22, Annual Performance Review for FY 2022-23 for Tata Power Company Limited (TPCL) Link: https://jserc.org/pdf/tariff_order/tpcl2024.pdf |
|  | Case (Tariff) No.: 06 of 2022 | “5.85 The Commission has scrutinized the submission made by the Petitioner and approves the Terminal Liabilities, Ash Disposal Expenses and Petition Application Fee & Publication Expenses as per audited accounts. Order Date: 22nd May, 2023 Order Name: Order on True-up for FY 2020-21, Annual Performance Review for FY 2021-22 for Tata Power Company Limited (TPCL) Link: https://jserc.org/pdf/tariff_order/tpcl2023.pdf |
|  | Case (Tariff) No.: 03 of 2024 | “5.74 On scrutinizing and analyzing the data, material, information on record, the Commission approves the Ash Disposal Expenses as per note 30 of audited accounts for FY 2020-21 as tabulated hereunder… … 6.83 On scrutinizing and analyzing the data, material, information on record, the Commission approves the Ash Disposal Expenses as per note-31 of audited books of accounts for FY 2021-22 & FY 2022-23 as tabulated hereunder…” Order Date: 22nd August, 2024 Order Name: Order on True-up for FY 2020-21, FY 2021-22, & FY 2022-23, for Adhunik Power and Natural Resources Limited (APNRL) Link: https://jserc.org/pdf/tariff_order/apnrl2024.pdf |
|  | Case (Tariff) No.: 01 of 2025 | “5.65. The Commission has scrutinized the original receipt towards ARR Publication & Fee Expenses, Income Tax and Ash handling plant as submitted by the Petitioner vide ‘Annexure No. 11’, ‘Annexure No. 11’ and ‘Annexure No. 1’ respectively to its Petition and post prudent check approves the same as per the table below” Order Date: 27th May, 2025 Order Name: Order on True-up for FY 2023-24 for Inland Power Limited (IPL) Link: https://jserc.org/pdf/tariff_order/ipl_true_2025.pdf |

### In light of the statutory requirement under Notification dated 25.01.2016 of MOEF&CC, the Orders & precedence of Hon’ble CERC & APTEL, and the precedence of the Hon’ble JSERC for other Petitioners, it is prayed to allow the actual Ash Handling Expenses equating to Rs. 165.6109292 Lakhs, as reflected in Line-Item No. 25.4 of Note 25. Other Expenses of the Audited Books of Accounts.

Table 22: Actual Ash Handling Expenses

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Ash Handling Expenses | Rs. Cr. | - | 1.66 |

## Security Expenses

### The petitioner prays that it has incurred Security Expenses equating to Rs. 62.90343 Lakhs in FY 2024-25, as reflected in the Books of Accounts.

### The Petitioner submits that as per Clause 15.46 of the JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023, the Security Expenses shall be allowed separately after prudence check. The same is quoted below for immediate reference,

“15.46. The Water Charges, Security Expenses and Capital Spares for thermal generating stations shall be allowed separately after prudence check:

Provided that Water Charges shall be allowed based on water consumption, depending upon type of plant, type of cooling water system, subject to prudent check. The details regarding the same shall be furnished along with the Petition.

Provided that the generating station shall submit the details of year wise actual capital spares consumed at the time of truing up with appropriate justification for incurring the same and substantiating that the same is not funded through special allowance as per Clause 14.11 and 14.12 of the Regulation or claimed as a part of additional capitalisation or consumption of stores and spares and renovation and modernization.”

### Further, the Hon’ble JSERC has allowed the Security Expenses separately in other orders as detailed herewith,

| Sl. No. | Order No. | Details |
| --- | --- | --- |
|  | Case (Tariff) No.: 03 of 2024 | “6.77 In accordance with clause 15.46 of JSERC (Terms and Condition for determination of Tariff) Regulation (1st Amendments) 2023, and note-31 of annual books of account the Commission approves the cumulative security expenses for both the Unit as Rs 0.56 crore for FY 2021-22 and Rs 0.62 crore for FY 2022-23 respectively attributed to contracted capacity of 122.85 MW” Order Date: 22nd August, 2024 Order Name: Order on True-up for FY 2020-21, FY 2021-22, & FY 2022-23, for Adhunik Power and Natural Resources Limited (APNRL) Link: https://jserc.org/pdf/tariff_order/apnrl2024.pdf |
|  | Case (Tariff) No.: 03 of 2025 | “The Commission has referred to clause 15.46 of JSERC (Terms and Conditions for Determination of Generation Tariff) (First Amendment) Regulations, 2023 for approval of security as reproduced below: “The Water Charges, Security Deposit, and Capital Spare for thermal generating stations shall be allowed separately after prudent check” ” Order Date: 27th May, 2025 Order Name: Order on APR for FY 2024-25 for Inland Power Limited (IPL) Link: https://jserc.org/pdf/tariff_order/ipl_apr_2025.pdf |

### In light of the same it is prayed to allow the Security Expenses, as estimated by the Petitioner.

Table 23: Security Expenses

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Security Expenses | Rs. Cr. | 0.59 | 0.63 |

## Total Other expenses

### A snapshot of total other expenses for the present petition are provided below:

Table 24: Other expenses

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| ARR Publication and Fee Expenses | Rs Cr. | 0.23 | 0.23 |
| Tax Paid | Rs Cr. | - | 4.91 |
| Ash Handling Expenses | Rs. Cr. | 1.69 | 1.66 |
| Security Expenses | Rs. Cr. | 0.59 | 0.63 |
| Total Other Expenses | Rs Cr. | 2.51 | 7.43 |

# Summary of submissions for True-up of FY 2024-25

### The following section provides the summary of tariff submitted by the Petitioner for the present petition.

## Annual Fixed Cost

### A snapshot of the Annual Fixed cost claimed by the petitioner is provided below:

Table 25 : Computation of Fixed cost

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Depreciation | Rs Cr. | 14.66 | 17.48 |
| Interest on Loan & Finance Charges | Rs Cr. | 8.29 | 0.23 |
| Interest on Normative Loan | Rs Cr. | - | 8.04 |
| Return on Equity | Rs Cr. | 16.64 | 15.02 |
| Interest on Working Capital | Rs Cr. | 7.10 | 7.11 |
| O&M Expenses | Rs Cr. | 29.52 | 38.11 |
| Water charges | Rs Cr. | 1.95 | 1.85 |
| Fixed Cost | Rs Cr. | 78.16 | 87.85 |
| Fixed Cost with PAF adjustment | Rs Cr. | 80.41 | 87.85 |

## Energy Charges

### A snapshot of the Energy charges claimed by the petitioner is provided below:

Table 26: Computation of Variable Charge

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Capacity | MW | 63 | 63 |
| Plant Load Factor | % | 82.94 | 80.56 |
| Gross units generated | MU | 457.74 | 445.59 |
| Auxiliary consumption | MU | 48.06 | 54.64 |
| Auxiliary consumption | % | 10.50 | 12.26 |
| Net units Generated | MU | 409.68 | 390.96 |
| Specific Fuel Oil Consumption | ml/kwh | 1.00 | 1.00 |
| Rate of Oil | Rs./KL | 92,118.64 | 92,117.11 |
| Weighted average GCV of primary fuel less Staking Loss | kCal/Kg. | 2,498.61 | 2,723.67 |
| Weighted average cost of primary fuel after Transit loss | Rs/ MT | 2,848.14 | 2,839.95 |
| Primary Fuel Cost | Rs. Cr | 150.90 | 135.04 |
| Secondary Fuel Cost | Rs. Cr | 4.22 | 4.10 |
| Total Energy charges | Rs. Cr | 155.11 | 139.14 |
| Energy Charge Rate | Rs./kWh | 3.79 | 3.56 |

## Other Expenses

### A snapshot of other expenses claimed by the petitioner is provided below:

Table 27 : Other expenses

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| ARR Publication and Fee Expenses | Rs Cr. | 0.23 | 0.23 |
| Tax Paid | Rs Cr. | - | 4.91 |
| Ash Handling Expenses | Rs. Cr. | 1.69 | 1.66 |
| Security Expenses | Rs. Cr. | 0.59 | 0.63 |
| Total Other Expenses | Rs Cr. | 2.51 | 7.43 |

## Net Annual Revenue Requirement

### The Petitioner requests the Hon’ble Commission to approve the tariff for supply of electricity to JBVNL as summarised in the Table below for the true-up of FY 2024-25.

Table 28 : Net Annual Revenue Requirement

| Particulars | Unit | FY 2024-25 |  |
| --- | --- | --- | --- |
|  |  | APR Approved | True-up Petition |
| Annual Fixed Cost | Rs Cr. | 80.41 | 87.85 |
| Total Energy Charges | Rs Cr. | 155.11 | 139.14 |
| Total Other Expenses | Rs Cr. | 2.51 | 7.43 |
| Aggregate Revenue Requirement | Rs. Cr | 238.04 | 234.42 |
| Other Non-tariff Income |  | - | 0.41 |
| Net Aggregate Revenue Requirement |  | 227.78 | 234.42 |
| Revenue from sales | Rs. Cr | - | 211.58 |
| Gap/(Surplus) | Rs. Cr | - | 22.43 |

## Adjustment of Deficit Amount

### As discussed above, the Petitioner requests the Hon’ble Commission to approve the recovery from JBVNL as per regulation 7.4 of JSERC Tariff Regulations, 2020. Details of invoices raised to JBVNL are attached as Annexure 12. The under-recovered amount and the calculation as per regulation 7.4 of JSERC Tariff Regulations, 2020 is shown in the table below:

Table 29 : Adjustment of Deficit amount

| Particulars | UoM | FY 2024-25 | FY 2025-26 | FY 2026-27 |
| --- | --- | --- | --- | --- |
| Opening Gap/(Surplus) | Rs. Cr | - | 23.80 | 26.69 |
| Addition during the FY | Rs. Cr | 22.43 | - | - |
| Adjustment during the Year | Rs. Cr | - | - | - |
| Closing Gap/(Surplus) | Rs. Cr | 22.43 | 23.80 | 26.69 |
| Average Gap/(Surplus) |  | 11.22 | 23.80 | 26.69 |
| Interest Rate | % | 12.15% | 12.15% | 12.15% |
| Carrying Cost for the Year | Rs. Cr | 1.36 | 2.89 | 3.24 |
| Closing Gap/(Surplus) with Carrying Cost | Rs. Cr | 23.80 | 26.69 | 29.93 |

### The Bank rate for calculating carrying cost has been considered as per JSERC Tariff Regulations 2020 and its subsequent amendments. The Interest rate has been considered as per 1-year MCLR rate of SBI as on 01.04.2024 + 350 Basis points.

### Overall, the Petitioner prays to the Hon’ble Commission to approve the numbers for the True-up of FY 2024-25 as discussed above.

# Prayers

## IPL has the following prayers before JSERC

- Accept the petition for True-up of FY 2024-25 and approve the numbers for the petition as discussed in this Petition

- This Hon’ble Commission vide its orders dated 04-11- 2022 and 28-02-2023 has approved 100% recovery of fixed charges for FY 2014-15, FY 2016-17, FY 2017-18, FY 2018-19 and FY 2019-20.

- The same have been approved vide orders dated 22.05.2023 for FY 2020-21, 26.02.2024 for FY 2021-22, 23.07.2024 for FY 2022-23, and 27.05.2025 for FY 2023-24.

- The petitioner humbly requests the Hon’ble JSERC to also consider full 100% basis for the fixed cost recovery in the computation of True Up for FY 2024-25.

- Condone any inadvertent omissions/ errors/ rounding off differences/ shortcomings and permit IPL to add/ change/ modify this filing and make further submission as may be at a future date; and

- Pass such further and other orders, as the Hon’ble Commission may deem fit and proper, keeping in view the facts and circumstances of the case.

## Annexures

Annexure No. 1 – Annual accounts for FY 2024-25

Annexure No. 2 – Data formats as per JSERC Tariff Regulations 2020 and its subsequent amendments

In pen drive

Annexure No. 3 – Details for assets bought in FY 2024-25

Annexure No. 4 – Water charges details for FY 2024-25

Annexure No. 5 – SLDC availability certificate for FY 2024-25

Annexure No. 6 – Operational parameters for FY 2024-25

Annexure No. 7 – Summary of order of other Commission on auxiliary consumption for CFBC plants

| Parameter | RERC | GERC | UPERC |
| --- | --- | --- | --- |
| Type | Lignite Based | Lignite Based | Coal Based |
| Entity | Raj West Power Ltd | Gujarat Industries Power Company Ltd | Bajaj Energy Pvt. Ltd |
| Capacity per unit | 8 x 135 MW | 2 x 250 MW | 2 x 45 MW |
| Aux. Consumption Allowed | 11.5% | 12.5% for 3 years and 11.5% from 4th Year | 11.5% during stabilization and 11% post stabilization |
| Reference | http://www.rerc.rajasthan.gov.in/TariffOrders/ Reference: Petition No. 464/14 | https://www.gercin.org/wp-content/uploads/document/en_1308219753.pdf | http://uperc.org/App_File/Final-BEPL_TrueupandMYTorder_24thMay_2017_Commission-pdf525201751719PM.pdf |

Annexure No. 8 – Auditor certificates for Fuel purchase and consumed with monthly details along with sample bills for purchase and transportation for FY 2024-25

Annexure No. 9 – Copy of receipt of Filling Fees Paid and Tax Paid Details

Annexure No. 10 – Details of invoices raised to JBVNL